CITY OF SLIDELL PROJECT NO. 600-129
CITY HALL PARKING LOT & COURTYARD

BOUSCAREN STREET
SLIDELL LA  70458


SECTION 01770
CLOSEOUT PROCEDURES
Copyright 2002, The American Institute of Architects (AIA)

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for contract closeout, including, but not limited to, the following:

Adjust list below to suit Project.  Coordinate with "Related Sections" subparagraphs.

1. Inspection procedures.

2. Warranties.

3. Final cleaning.

B. Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.

1. Division 1 Section "Payment Procedures" for requirements for Applications for Payment for Substantial and Final Completion.

2. Division 1 Section "Execution Requirements" for progress cleaning of Project site.

3. Divisions 2 through 16 Sections for specific closeout and special cleaning requirements for the Work in those Sections.

1.3 SUBSTANTIAL COMPLETION

A. Preliminary Procedures:  Before requesting inspection, complete the following.  List items below that are incomplete in request.

Delete items below not applicable or revise to suit Project.

1. Prepare a list of items to be completed and corrected (punch list), the value of items on the list, and reasons why the Work is not complete.

For first two subparagraphs below, see Evaluations.

2. Touch up and otherwise repair and restore marred exposed finishes to eliminate visual defects.

Revise paragraph and subparagraphs below to comply with office policy and Project requirements.

B. Inspection:  Submit a written request for inspection for Substantial Completion.  On receipt of request, Architect will either proceed with inspection or notify Contractor of unfulfilled requirements.  Architect will prepare the Certificate of Substantial Completion after inspection or will notify Contractor of items, either on Contractor's list or additional items identified by Architect, that must be completed or corrected before certificate will be issued.

1. Reinspection:  Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

2. Results of completed inspection will form the basis of requirements for Final Completion.

1.4 FINAL COMPLETION

A. Preliminary Procedures:  Before requesting final inspection for determining date of Final Completion, complete the following:

Revise five subparagraphs below to match the Supplementary Conditions.

1. Submit a final Application for Payment according to Division 1 Section "Payment Procedures."

2. Submit certified copy of Architect's Substantial Completion inspection list of items to be completed or corrected (punch list), endorsed and dated by Architect.  The certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance.

3. Submit evidence of final, continuing insurance coverage complying with insurance requirements.

Revise paragraph and subparagraph below to comply with office policy and Project requirements.

B. Inspection:  Submit a written request for final inspection for acceptance.  On receipt of request, Architect will either proceed with inspection or notify Contractor of unfulfilled requirements.  Architect will prepare a final Certificate for Payment after inspection or will notify Contractor of construction that must be completed or corrected before certificate will be issued.

1. Reinspection:  Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

1.5 LIST OF INCOMPLETE ITEMS (PUNCH LIST)

A. Preparation:  Submit three copies of list.  Include name and identification of each area affected by construction operations for incomplete items and items needing correction including, if necessary, areas disturbed by Contractor that are outside the limits of construction.

1. Include the following information:

Revise list below to suit Project.

a. Project name.

b. Date.

c. Name of Architect.

d. Name of Contractor.

1.6 WARRANTIES

A. Provide a written one year warranty covering materials and workmanship.
PART 2 -  PRODUCTS (Not Used)
PART 3 -  EXECUTION

3.1 FINAL CLEANING

Delete this Article if owners prefer to use their own forces.  Cleaning provisions in the General Conditions are limited to rubbish removal and similar activities.

A. General:  Provide final cleaning.  Conduct cleaning and waste-removal operations to comply with local laws and ordinances and Federal and local environmental and antipollution regulations.

B. Cleaning:  

If final cleaning is delayed until final acceptance, revise subparagraph and associated subparagraphs below.

1. Complete the following cleaning operations before requesting inspection for entire Project or for a portion of Project:

Below is a sample list of final cleaning requirements.  Revise to suit Project.

a. Clean Project site, yard, and grounds, in areas disturbed by construction activities, including landscape development areas, of rubbish, waste material, litter, and other foreign substances.

b. Sweep paved areas broom clean.  Remove petrochemical spills, stains, and other foreign deposits.

c. Rake grounds that are neither planted nor paved to a smooth, even-textured surface.

d. Remove tools, construction equipment, machinery, and surplus material from Project site.

e. Leave Project clean and ready for use.

Two paragraphs below represent end of the Work specified in Division 1 Section "Temporary Facilities and Controls."  Most projects require these actions at completion of construction.  Insert a paragraph on termite inspection where required by local code or desired for Project.

C. Comply with safety standards for cleaning.  Do not burn waste materials.  Do not bury debris or excess materials on Owner's property.  Do not discharge volatile, harmful, or dangerous materials into drainage systems.  Remove waste materials from Project site and dispose of lawfully.

Insert an article on continuing inspections or consultations by Contractor if required.  Possibly insert a schedule of approximate times for inspections.

END OF DOCUMENT
CLOSEOUT PROCEDURES

01770 - 1

