Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 4

City of Slidell						ENGINEER’S PROJECT NUMBER:  2204

CDBG Sidewalk Improvements

Phase V 5000-21B

Washington Ave.

Slidell, Louisiana

CONTRACT:  New Construction

DATE:  04/17/2014			TIME:  8:15 AM	WEATHER: Clear 	TEMP RANGE:  55°

EST % OF COMPLETION:  9%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Pouring sidewalks				Contractor/Employees

OBSERVATIONS:

Pouring concrete on sidewalks located on Washington Ave and regarding next to new sidewalks.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: