July 6, 2007

Judge Jim Lamz
Slidell City Court

501 Bouscaren Drive

Slidell, LA  70458

RE:
Slidell City Court Roof Repairs

Dear Judge Lamz,

Per our conversation on Friday the 6th day of July, the following information has been gathered concerning the leaks to the roof in the small court room and the administrative office.

The leak in the small court room was difficult to analyze. It appears that several shingles on the north side of the roof above the administrative area became loose, these shingles were refastened today and the area around it inspected to help prevent further leaks.
The wet ceiling tile in the administrative area was caused by the non insulated duct work in the open space between the roof and the suspended ceiling. To correct this problem new insulation and perhaps new duct work would be required. No action has been taken to remedy this problem.
Please contact me for any further information you may need. 
Sincerely,

Kirt Dammon/
Dammon Engineering, Inc.

