Fixture Schedule

Typically Lightolier unless noted otherwise

A            XP2GVA432UNVH4

AB          XP2GVA432UNVH4-E5

BB          LSW4232UNVHI-E5

AB/BB     FBP100FE (Unit inverter for AB & BB)

EX          LLNURW

S            4X9LWCCLP/4X9142HU

R            8021CCLP/S6132BU

RB          8021CCLP/S6132BU EM(FAEM3E)

W           6700MS22U

WB         6700MS22U EM

EM          E8W

WEX       (Forecast) 8493-41E1

STR        SW4S232UNVHI

