September 18, 2008

RFP #5

Please provide a price to remove existing concrete paving in order to proceed with the installation of new concrete parking lot in accordance with contract documents.

Review the following pertinent documents:

Sheets C-1 thru C-7.

Sheet D-9; Parking Lot Demolition Plan including specific notes. Note: Removal of concrete curbs and planters (Note #1), not to be included in above price.

Specification Section 01732 – Selective Demolition.

Suggestions:

Related Work: When proceeding with the construction of the new parking lot, (not included in the above price), please review the following pertinent documents:

Sheets C-1 thru C-7.

Specification Section 033053 – Cast-In-Place-Concrete.

RFI #12b; Includes specifications.

Coordinate with Project Testing Agency as to compaction testing, proof-rolling, and concrete testing.

