[image: image1.jpg]Dammon Engineering Inc.
1095 Florida Ave.
Slidell, LA 70458
(985) 649-5832
Fax: (985)641-5950

Request for Proposal

TO: NATCO Project:  St. Tammany Administrative Date: 9/18/2008
Complex
Slidell, LA RFP#: 5

RECEIVED BY (signature):

Proposal Requested for the Following Change(s):

Remove existing concrete paving in order to proceed with the installation of new concrete parking lot in
accordance with contract documents.

Review the following pertinent documents:
Sheets C-1 thru C-7
Sheet D-9; Parking Lot Demolition Plan including specific notes. (Note: Removal of concrete curbs

and planters not to be included in above price.)
Specification Section 01732 - Selective Demolition.

Signature:

(Print Name)
Title: Project Manager

Suggestions:
Relgagted Work: When proceeding with the construction for the new parking lot, (not included in the above price),
please review the following pertinent documents:

Sheets C-1 thru C-7;

Specification Section 033053 - Cast-In-Place-Concrete;

RFI #12b; Includes specifications

Coordinate with Project Testing Agency as to compaction testing, proof-rolling, and concrete testing.

Estimated Schedule Impact (if known):

Proposed Fee for Change: $

Alternate Price (if applicable): $

Reply by: Signature:
(Print Name)





