SLIDELL MEMORIAL HOSPITAL

WOMEN’S IMAGING CENTER

1495 GAUSE BLVD.

Slidell LA  70458

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09912
INTERIOR PAINTING
GLASS UNIT MASONRY ASSEMBLIES This Section uses the term "Architect."  Change this term as necessary to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2001 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2002, The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes surface preparation and the application of paint systems on the following interior substrates:

1. Steel.

2. Galvanized metal.

3. Aluminum (not anodized or otherwise coated).

4. Wood.

5. Gypsum board.

6. Plaster.

7. Spray-textured ceilings.

8. Concrete.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

Factory- or shop-applied primers applied as Work of other Sections must be coordinated with field-applied finish coats.  Review other Sections for factory- or shop-primed products and reference this Section for product requirements.

1. Division 5 Sections for shop priming of metal substrates with primers specified in this Section.

2. Division 6 Sections for shop priming carpentry with primers specified in this Section.

3. Division 8 Sections for factory priming windows and doors with primers specified in this Section.

4. Division 9 painting Sections for special-use coatings.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Samples for Initial Selection:  For each type of topcoat product indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

C. Samples for Verification:  For each type of paint system and in each color and gloss of topcoat indicated.

1. Submit Samples on rigid backing, 8 inches square.

2. Step coats on Samples to show each coat required for system.

3. Label each coat of each Sample.

4. Label each Sample for location and application area.

D. Product List:  For each product indicated, include the following:

1. Cross-reference to paint system and locations of application areas.  Use same designations indicated on Drawings and in schedules.

See "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for discussion of subparagraph below.

2. Printout of current "MPI Approved Products List" for each product category specified in Part 2, with the proposed product highlighted.

1.4 QUALITY ASSURANCE

A. MPI Standards:

1. Products:  Complying with MPI standards indicated and listed in "MPI Approved Products List."

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise subparagraph below and paint systems specified in Part 3.

2. Preparation and Workmanship:  Comply with requirements in "MPI Architectural Painting Specification Manual" for products and paint systems indicated.

Delete paragraph and subparagraphs below if not required.

B. Mockups:  Apply benchmark samples of each paint system indicated and each color and finish selected to verify preliminary selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select one surface to represent surfaces and conditions for application of each paint system specified in Part 3.

a. Wall and Ceiling Surfaces:  Provide samples of at least 100 sq. ft.

b. Other Items:  Architect will designate items or areas required.

2. Apply benchmark samples after permanent lighting and other environmental services have been activated.

3. Final approval of color selections will be based on benchmark samples.

a. If preliminary color selections are not approved, apply additional benchmark samples of additional colors selected by Architect at no added cost to Owner.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Store materials not in use in tightly covered containers in well-ventilated areas with ambient temperatures continuously maintained at not less than 45 deg F.

1. Maintain containers in clean condition, free of foreign materials and residue.

2. Remove rags and waste from storage areas daily.

If necessary, add special requirements for fire protection, heating, ventilation, and other conditions for storage areas on-site.

1.6 PROJECT CONDITIONS

A. Apply paints only when temperature of surfaces to be painted and ambient air temperatures are between 50 and 95 deg F.

B. Do not apply paints when relative humidity exceeds 85 percent; at temperatures less than 5 deg F above the dew point; or to damp or wet surfaces.

1.7 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that are from same production run (batch mix) as materials applied and that are packaged for storage and identified with labels describing contents.

Retain subparagraph below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

1. Quantity:  Furnish an additional 5 percent, but not less than 1 gal. of each material and color applied.

To efficiently edit Part 2, first edit the Interior Painting Schedule in Part 3; then retain, delete, and insert appropriate products in Part 2 to correspond with paint systems specified in the Interior Painting Schedule.

PART 2 -  PRODUCTS

"Manufacturers" Article lists manufacturers with MPI-approved products for MPI paint categories included in the Section Text.  The list was current when this Section was updated; see current "MPI Approved Products List" at www.paintinfo.com for updated lists of manufacturers.

If preferred, delete Article below and insert product names under each paint category specified in subsequent articles.  See lists of products currently approved by MPI in its "MPI Approved Products List," which is easily reached via the electronic version of the Supporting Documents (accessed via MASTERWORKS pull-down menu).  See "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for further discussion.

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 9 Section "Painting" for cautions about naming manufacturers and products.  Retain one of two paragraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Benjamin Moore & Co.

2. Bennette Paint Mfg. Co., Inc.

3. BLP Mobile Paint Manufacturing.

4. California Paints.

For this Section, ChemRex offers only clear concrete floor sealers; if not required, delete ChemRex.

5. ChemRex.

6. Cloverdale Paint.

7. Color Wheel Paints & Coatings.

8. Columbia Paint & Coatings.

9. Coronado Paint.

10. Davis Paint Company.

11. Diamond Vogel Paints.

12. Dunn-Edwards Corporation.

13. Durant Paints Inc.

14. Duron, Inc.

15. Envirocoat Technologies Inc.

16. Farrell-Calhoun.

17. Flex Bon Paints.

18. Frazee Paint.

19. General Paint.

20. Griggs Paint.

21. Hallman Lindsay Quality Paints.

22. Hirshfield's, Inc.

23. ICI Devoe (Canada).

24. ICI Paints.

25. Insl-x.

26. Iowa Paint Manufacturing Company, Inc.

27. Kelly-Moore Paints.

For this Section, Kryton Canada Corporation offers only clear concrete floor sealers and stains; if not required, delete Kryton.

28. Kryton Canada Corporation.

29. Kwal-Howells Paint.

30. M.A.B. Paints.

31. McCormick Paints.

32. Miller Paint.

33. Mills Paint.

34. Northern Paint.

35. PARA Paints.

36. Parker Paint Mfg. Co. Inc.

37. Porter Paints.

38. PPG Architectural Finishes, Inc.

39. Rodda Paint Co.

40. Sherwin-Williams Company (The).

41. Sico, Inc.

42. Sigma Coatings.

43. Smiland Paint Company.

44. Spectra-Tone.

45. Sterling Paint.

46. Tamms Industries, Inc.

47. Tower Paint.

48. Vista Paint.

2.2 PAINT, GENERAL

A. Material Compatibility:

Systems could fail if paints used for individual coats are incompatible.  MPI's paint systems match primers and topcoats and take compatibility into consideration.

1. Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2. For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

Retain first paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.2; coordinate with products selected.  If retaining, consider deleting "VOC Content" subparagraph from each paint type paragraph retained in subsequent articles to avoid the appearance of conflicting requirements.  For names of products that comply, see products listed as complying with LEED requirements for VOCs on "MPI Approved Products List" (available at www.paintinfo.com).

B. VOC Content of Field-Applied Interior Paints and Coatings:  Provide products that comply with the following limits for VOC content, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24); these requirements do not apply to paints and coatings that are applied in a fabrication or finishing shop:

First six subparagraphs below apply to LEED-NC.

1. Flat Paints, Coatings, and Primers:  VOC content of not more than 50 g/L.

2. Nonflat Paints, Coatings, and Primers:  VOC content of not more than 150 g/L.

3. Anti-Corrosive and Anti-Rust Paints Applied to Ferrous Metals:  VOC not more than 250 g/L.

4. Floor Coatings:  VOC not more than 100 g/L.

5. Shellacs, Clear:  VOC not more than 730 g/L.

6. Shellacs, Pigmented:  VOC not more than 550 g/L.

Ten subparagraphs below apply to LEED-CI.

7. Flat Topcoat Paints:  VOC content of not more than 50 g/L.

8. Nonflat Topcoat Paints:  VOC content of not more than 150 g/L.

9. Anti-Corrosive and Anti-Rust Paints Applied to Ferrous Metals:  VOC not more than 250 g/L.

10. Floor Coatings:  VOC not more than 100 g/L.

11. Shellacs, Clear:  VOC not more than 730 g/L.

12. Shellacs, Pigmented:  VOC not more than 550 g/L.

13. Primers, Sealers, and Undercoaters:  VOC content of not more than 200 g/L.

Verify that three subparagraphs below are acceptable for LEED-CI before retaining.

14. Dry-Fog Coatings:  VOC content of not more than 400 g/L.

15. Zinc-Rich Industrial Maintenance Primers:  VOC content of not more than 340 g/L.

16. Pre-Treatment Wash Primers:  VOC content of not more than 420 g/L.

Retain first paragraph below if low-emitting materials are required for LEED-CI Credit EQ 4.2; coordinate with products selected.

C. Chemical Components of Field-Applied Interior Paints and Coatings:  Provide topcoat paints and anti-corrosive and anti-rust paints applied to ferrous metals that comply with the following chemical restrictions; these requirements do not apply to paints and coatings that are applied in a fabrication or finishing shop:

1. Aromatic Compounds:  Paints and coatings shall not contain more than 1.0 percent by weight of total aromatic compounds (hydrocarbon compounds containing one or more benzene rings).

2. Restricted Components:  Paints and coatings shall not contain any of the following:

a. Acrolein.

b. Acrylonitrile.

c. Antimony.

d. Benzene.

e. Butyl benzyl phthalate.

f. Cadmium.

g. Di (2-ethylhexyl) phthalate.

h. Di-n-butyl phthalate.

i. Di-n-octyl phthalate.

j. 1,2-dichlorobenzene.

k. Diethyl phthalate.

l. Dimethyl phthalate.

m. Ethylbenzene.

n. Formaldehyde.

o. Hexavalent chromium.

p. Isophorone.

q. Lead.

r. Mercury.

s. Methyl ethyl ketone.

t. Methyl isobutyl ketone.

u. Methylene chloride.

v. Naphthalene.

w. Toluene (methylbenzene).

x. 1,1,1-trichloroethane.

y. Vinyl chloride.

D. Colors: As selected by Architect from manufacturer's full range.

2.3 PRIMERS/SEALERS

A. Interior Latex Primer/Sealer:  MPI #50.

B. Interior Alkyd Primer/Sealer:  MPI #45.

If deleting "Manufacturers" Article, insert manufacturers' names and product designations here.  Coordinate with topcoat products.

C. Wood-Knot Sealer:  Sealer recommended in writing by topcoat manufacturer for use in paint systems indicated.

2.4 METAL PRIMERS

A. Alkyd Anticorrosive Metal Primer:  MPI #79.

B. Quick-Drying Alkyd Metal Primer:  MPI #76.

C. Rust-Inhibitive Primer (Water Based):  MPI #107.

D. Cementitious Galvanized-Metal Primer:  MPI #26.

E. Waterborne Galvanized-Metal Primer:  MPI #134.

F. Vinyl Wash Primer:  MPI #80.

G. Quick-Drying Primer for Aluminum:  MPI #95.

2.5 WOOD PRIMERS

A. Interior Latex-Based Wood Primer:  MPI #39.

2.6 LATEX PAINTS

A. Interior Latex (Flat):  MPI #53 (Gloss Level 1).

B. Interior Latex (Low Sheen):  MPI #44 (Gloss Level 2).

C. Interior Latex (Eggshell):  MPI #52 (Gloss Level 3).

D. Interior Latex (Satin):  MPI #43 (Gloss Level 4).

E. Interior Latex (Semigloss):  MPI #54 (Gloss Level 5).

F. Interior Latex (Gloss):  MPI #114 (Gloss Level 6, except minimum gloss of 65 units at 60 deg).

G. Institutional Low-Odor/VOC Latex (Flat):  MPI #143 (Gloss Level 1).

H. Institutional Low-Odor/VOC Latex (Low Sheen):  MPI #144 (Gloss Level 2).

I. Institutional Low-Odor/VOC Latex (Eggshell):  MPI #145 (Gloss Level 3).

J. Institutional Low-Odor/VOC Latex (Semigloss):  MPI #147 (Gloss Level 5).

K. High-Performance Architectural Latex (Low Sheen):  MPI #138 (Gloss Level 2).

L. High-Performance Architectural Latex (Eggshell):  MPI #139 (Gloss Level 3).

M. High-Performance Architectural Latex (Satin):  MPI #140 (Gloss Level 4).

N. High-Performance Architectural Latex (Semigloss):  MPI #141 (Gloss Level 5).

O. Exterior Latex (Flat):  MPI #10 (Gloss Level 1).

P. Exterior Latex (Semigloss):  MPI #11 (Gloss Level 5).

Q. Exterior Latex (Gloss):  MPI #119 (Gloss Level 6, except minimum gloss of 65 units at 60 deg).

2.7 ALKYD PAINTS

A. Interior Alkyd (Flat):  MPI #49 (Gloss Level 1).

B. Interior Alkyd (Eggshell):  MPI #51 (Gloss Level 3).

C. Interior Alkyd (Semigloss):  MPI #47 (Gloss Level 5).

D. Interior Alkyd (Gloss):  MPI #48 (Gloss Level 6).

2.8 QUICK-DRYING ENAMELS

A. Quick-Drying Enamel (Semigloss):  MPI #81 (Gloss Level 5).

B. Quick-Drying Enamel (High Gloss):  MPI #96 (Gloss Level 7).

2.9 TEXTURED COATING

A. Latex Stucco and Masonry Textured Coating:  MPI #42.

2.10 DRY FOG/FALL COATINGS

A. Latex Dry Fog/Fall:  MPI #118.

B. Waterborne Dry Fall:  MPI #133.

C. Interior Alkyd Dry Fog/Fall:  MPI #55.

2.11 ALUMINUM PAINT

A. Aluminum Paint:  MPI #1.

2.12 FLOOR COATINGS

A. Interior Concrete Floor Stain:  MPI #58.

B. Interior/Exterior Clear Concrete Floor Sealer (Water Based):  MPI #99.

C. Interior/Exterior Clear Concrete Floor Sealer (Solvent Based):  MPI #104.

D. Interior/Exterior Latex Floor and Porch Paint (Low Gloss):  MPI #60 (maximum Gloss Level 3).

E. Exterior/Interior Alkyd Floor Enamel (Gloss):  MPI #27 (Gloss Level 6).

1. Additives:  Manufacturer's standard additive to increase skid resistance of painted surface.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of work.

B. Maximum Moisture Content of Substrates:  When measured with an electronic moisture meter as follows:

Percentages in five subparagraphs below are based on "MPI Architectural Painting Specification Manual."

1. Concrete:  12 percent.

2. Masonry (Clay and CMU):  12 percent.

3. Wood:  15 percent.

4. Gypsum Board:  12 percent.

5. Plaster:  12 percent.

C. Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

D. Begin coating application only after unsatisfactory conditions have been corrected and surfaces are dry.

1. Beginning coating application constitutes Contractor's acceptance of substrates and conditions.

3.2 PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and paint systems specified in the Interior Painting Schedule.

A. Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates indicated.

B. Remove plates, machined surfaces, and similar items already in place that are not to be painted.  If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

1. After completing painting operations, use workers skilled in the trades involved to reinstall items that were removed.  Remove surface-applied protection if any.

2. Do not paint over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

C. Clean substrates of substances that could impair bond of paints, including dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with topcoats is critical.

1. Remove incompatible primers and reprime substrate with compatible primers as required to produce paint systems indicated.

D. Concrete Substrates:  Remove release agents, curing compounds, efflorescence, and chalk.  Do not paint surfaces if moisture content or alkalinity of surfaces to be painted exceeds that permitted in manufacturer's written instructions.

E. Clay Masonry Substrates:  Remove efflorescence and chalk.  Do not paint surfaces if moisture content of surfaces or alkalinity of mortar joints to be painted exceed that permitted in manufacturer's written instructions.

F. Concrete Masonry Substrates:  Remove efflorescence and chalk.  Do not paint surfaces if moisture content or alkalinity of surfaces to be painted exceeds that permitted in manufacturer's written instructions.

Delete paragraph below if primers are shop applied and will not be removed in the field.

G. Steel Substrates:  Remove rust and loose mill scale.  Clean using methods recommended in writing by paint manufacturer.

Galvanized-metal substrates should not be chromate passivated (commercially known as "bonderized") if primers are field applied.  If galvanized metal is chromate passivated, consult manufacturers for appropriate surface preparation and primers.

H. Galvanized-Metal Substrates:  Remove grease and oil residue from galvanized sheet metal fabricated from coil stock by mechanical methods to produce clean, lightly etched surfaces that promote adhesion of subsequently applied paints.

I. Aluminum Substrates:  Remove surface oxidation.

J. Wood Substrates:

1. Scrape and clean knots, and apply coat of knot sealer before applying primer.

2. Sand surfaces that will be exposed to view, and dust off.

3. Prime edges, ends, faces, undersides, and backsides of wood.

4. After priming, fill holes and imperfections in the finish surfaces with putty or plastic wood filler.  Sand smooth when dried.

K. Gypsum Board Substrates:  Do not begin paint application until finishing compound is dry and sanded smooth.

L. Plaster Substrates:  Do not begin paint application until plaster is fully cured and dry.

M. Spray-Textured Ceiling Substrates:  Do not begin paint application until surfaces are dry.

3.3 APPLICATION

A. Apply paints according to manufacturer's written instructions.

If Project requires restricted application method (e.g., using only spray or rollers), revise first subparagraph below accordingly.

1. Use applicators and techniques suited for paint and substrate indicated.

2. Paint surfaces behind movable equipment and furniture same as similar exposed surfaces.  Before final installation, paint surfaces behind permanently fixed equipment or furniture with prime coat only.

3. Paint front and backsides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

If tinting is not required, delete first paragraph below.  Different tints will show through as topcoat erodes.

B. Tint each undercoat a lighter shade to facilitate identification of each coat if multiple coats of same material are to be applied.  Tint undercoats to match color of topcoat, but provide sufficient difference in shade of undercoats to distinguish each separate coat.

C. If undercoats or other conditions show through topcoat, apply additional coats until cured film has a uniform paint finish, color, and appearance.

D. Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections.  Cut in sharp lines and color breaks.

Paragraph and subparagraphs below are examples of painting requirements for mechanical and electrical work.  Revise to suit Project.

E. Painting Mechanical and Electrical Work:  Paint items exposed in equipment rooms and occupied spaces including, but not limited to, the following:

1. Mechanical Work:

List below contains mechanical items that are usually field painted.  Add other items to suit Project.

a. Uninsulated metal piping.

b. Uninsulated plastic piping.

c. Pipe hangers and supports.

d. Tanks that do not have factory-applied final finishes.

e. Visible portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets.

f. Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

g. Mechanical equipment that is indicated to have a factory-primed finish for field painting.

2. Electrical Work:

List below contains electrical items that are usually field painted.  Add other items to suit Project.

a. Switchgear.

b. Panelboards.

c. Electrical equipment that is indicated to have a factory-primed finish for field painting.

3.4 FIELD QUALITY CONTROL

Retain this Article for large projects or critical coatings where additional control is desired.  Delete if tests are not required.

A. Testing of Paint Materials:  Owner reserves the right to invoke the following procedure at any time and as often as Owner deems necessary during the period when paints are being applied:

1. Owner will engage the services of a qualified testing agency to sample paint materials being used.  Samples of material delivered to Project site will be taken, identified, sealed, and certified in presence of Contractor.

2. Testing agency will perform tests for compliance with product requirements.

3. Owner may direct Contractor to stop applying paints if test results show materials being used do not comply with product requirements.  Contractor shall remove noncomplying-paint materials from Project site, pay for testing, and repaint surfaces painted with rejected materials.  Contractor will be required to remove rejected materials from previously painted surfaces if, on repainting with complying materials, the two paints are incompatible.

3.5 CLEANING AND PROTECTION

A. At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

B. After completing paint application, clean spattered surfaces.  Remove spattered paints by washing, scraping, or other methods.  Do not scratch or damage adjacent finished surfaces.

C. Protect work of other trades against damage from paint application.  Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

D. At completion of construction activities of other trades, touch up and restore damaged or defaced painted surfaces.

To efficiently edit the Section Text, first edit the Interior Painting Schedule below; then retain, delete, and insert appropriate products in Part 2 to correspond with paint systems specified in the schedule.

3.6 INTERIOR PAINTING SCHEDULE

Paint systems in this Article are based on "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").  For renovation projects, consult "MPI Maintenance Repainting Manual" and revise paint systems accordingly.

Coordinate substrates and paint systems retained in this Article with products retained in Part 2.

A. Concrete Substrates, Nontraffic Surfaces:

1. Latex System:  MPI INT 3.1E.

a. Prime Coat:  Interior latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Latex Over Sealer System:  MPI INT 3.1A.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

3. Alkyd System:  MPI INT 3.1D.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

4. Institutional Low-Odor/VOC Latex System:  MPI INT 3.1M.

a. Prime Coat:  Institutional low-odor/VOC interior latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 3.1C.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

B. Concrete Substrates, Traffic Surfaces:

1. Latex Floor Enamel System:  MPI INT 3.2A.

a. Prime Coat:  Interior/exterior latex floor and porch paint (low gloss).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior/exterior latex floor and porch paint (low gloss).

c. Topcoat:  Interior/exterior latex floor and porch paint (low gloss).

2. Alkyd Floor Enamel System:  MPI INT 3.2B.

a. Prime Coat:  Exterior/interior alkyd floor enamel (gloss).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Exterior/interior alkyd floor enamel (gloss).

c. Topcoat:  Exterior/interior alkyd floor enamel (gloss).

3. Concrete Stain System:  MPI INT 3.2E.

For a Premium Grade system, "MPI Manual" requires first coat; delete first coat for a Custom Grade system.

a. First Coat:  Interior concrete floor stain.

b. Topcoat:  Interior concrete floor stain.

4. Clear Sealer System:  MPI INT 3.2F.

For a Custom Grade system, "MPI Manual" requires first coat; it does not include a Premium Grade system.

a. First Coat:  Interior/exterior clear concrete floor sealer (solvent based).

b. Topcoat:  Interior/exterior clear concrete floor sealer (solvent based).

5. Water-Based Clear Sealer System:  MPI INT 3.2G.

For a Custom Grade system, "MPI Manual" requires first coat; it does not include a Premium Grade system.

a. First Coat:  Interior/exterior clear concrete floor sealer (water based).

b. Topcoat:  Interior/exterior clear concrete floor sealer (water based).

C. Clay-Masonry Substrates:

1. Latex System:  MPI INT 4.1A.

a. Prime Coat:  Interior latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Alkyd System:  MPI INT 4.1D.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

3. Latex Aggregate System:  MPI INT 4.1B.

"MPI Manual" states that application procedures and products used in this system vary; therefore, it relies on manufacturer's written recommendations for primers and number of coats for a Premium Grade system and does not include a Custom Grade system.

a. Prime Coat:  As recommended in writing by topcoat manufacturer.

b. Intermediate Coat:  As recommended in writing by topcoat manufacturer.

c. Topcoat:  Latex stucco and masonry textured coating.

4. Institutional Low-Odor/VOC Latex System:  MPI INT 4.1M.

a. Prime Coat:  Institutional low-odor/VOC interior latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 4.1L.

a. Prime Coat:  High-performance architectural latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

D. CMU Substrates:

1. Latex System:  MPI INT 4.2A.

a. Prime Coat:  Interior/exterior latex block filler.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Alkyd System:  MPI INT 4.2C.

a. Prime Coat:  Interior/exterior latex block filler.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

3. Alkyd Over Latex Sealer System:  MPI INT 4.2N.

a. Prime Coat:  Interior/exterior latex block filler.

b. Sealer Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat:  Interior alkyd matching topcoat.

d. Topcoat:  Interior alkyd .

4. Institutional Low-Odor/VOC Latex System:  MPI INT 4.2E.

a. Prime Coat:  Interior/exterior latex block filler.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 4.2D.

a. Prime Coat:  Interior/exterior latex block filler.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

For areas subject to wetting, consider inserting epoxy system, MPI INT 4.2G; see Division 9 Section "High-Performance Coatings" for system description and products.

E. Steel Substrates:

1. Quick-Drying Enamel System:  MPI INT 5.1A.

a. Prime Coat:  Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Quick-drying enamel matching topcoat.

c. Topcoat:  Quick-drying enamel.

2. Water-Based Dry-Fall System:  MPI INT 5.1C.

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Premium Grade system.

a. Prime Coat:  Alkyd anticorrosive orQuick-drying alkyd metal primer.

b. Topcoat:  Latex dry fog/fall orWaterborne dry fall.

3. Alkyd Dry-Fall System:  MPI INT 5.1D.

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Premium Grade system.

a. Prime Coat:  Alkyd anticorrosive or Quick-drying alkyd metal primer.

b. Topcoat:  Interior alkyd dry fog/fall.

4. Latex Over Alkyd Primer System:  MPI INT 5.1Q.

a. Prime Coat:  Alkyd anticorrosive or Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

5. Alkyd System:  MPI INT 5.1E.

a. Prime Coat:  Alkyd anticorrosive or Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

6. Aluminum Paint System:  MPI INT 5.1M.

a. Prime Coat:  Alkyd anticorrosive or Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Aluminum paint.

c. Topcoat:  Aluminum paint.

7. Institutional Low-Odor/VOC Latex System:  MPI INT 5.1S.

a. Prime Coat:  Rust-inhibitive primer (water based).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

8. High-Performance Architectural Latex System:  MPI INT 5.1R.

a. Prime Coat:  Alkyd anticorrosive or Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

Galvanized-metal substrates should not be chromate passivated (commercially known as "bonderized") if primers are field applied.  If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

F. Galvanized-Metal Substrates:

1. Water-Based Dry-Fall System:  MPI INT 5.3H.

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Premium Grade system.

a. Prime Coat:  Waterborne dry fall.

b. Topcoat:  Waterborne dry fall.

2. Alkyd Dry-Fall System:  MPI INT 5.3F.

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Premium Grade system.

a. Prime Coat:  Cementitious galvanized-metal primer.

b. Topcoat:  Interior alkyd dry fog/fall.

3. Latex System:  MPI INT 5.3A.

a. Prime Coat:  Cementitious galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

4. Latex Over Waterborne Primer System:  MPI INT 5.3J.

a. Prime Coat:  Waterborne galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

5. Alkyd System:  MPI INT 5.3C.

a. Prime Coat:  Cementitious galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

6. Aluminum Paint System:  MPI INT 5.3G.

a. Prime Coat:  Cementitious galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Aluminum paint.

c. Topcoat:  Aluminum paint.

7. Institutional Low-Odor/VOC Latex System:  MPI INT 5.3N.

a. Prime Coat:  Waterborne galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

8. High-Performance Architectural Latex System:  MPI INT 5.3M.

a. Prime Coat:  Waterborne galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

G. Aluminum (Not Anodized or Otherwise Coated) Substrates:

1. Latex System:  MPI INT 5.4H.

a. Prime Coat:  Quick-drying primer for aluminum.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Alkyd Over Vinyl Wash Primer System:  MPI INT 5.4A.

a. Prime Coat:  Vinyl wash primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

3. Alkyd Over Quick-Drying Primer System:  MPI INT 5.4J.

a. Prime Coat:  Quick-drying primer for aluminum.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

4. Aluminum Paint System:  MPI INT 5.4D.

a. Prime Coat:  Vinyl wash primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Aluminum paint.

c. Topcoat:  Aluminum paint.

5. Institutional Low-Odor/VOC Latex System:  MPI INT 5.4G.

a. Prime Coat:  Quick-drying primer for aluminum.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

6. High-Performance Architectural Latex System:  MPI INT 5.4F.

a. Prime Coat:  Quick-drying primer for aluminum.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

H. Dressed Lumber Substrates:  Including architectural woodwork.

1. Latex System:  MPI INT 6.3T.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Latex Over Alkyd Primer System:  MPI INT 6.3U.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

3. Alkyd System:  MPI INT 6.3B.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

4. Institutional Low-Odor/VOC Latex System:  MPI INT 6.3V.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 6.3A.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

I. Dimension Lumber Substrates, Nontraffic Surfaces.

1. Latex System:  MPI INT 6.2D.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Latex Over Alkyd Primer System:  MPI INT 6.2A.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

3. Alkyd System:  MPI INT 6.2C.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

4. Institutional Low-Odor/VOC Latex System:  MPI INT 6.2L.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 6.2B.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

J. Gypsum Board Substrates:

1. Latex System:  MPI INT 9.2A.

For a Premium Grade system, select primer/sealer option in subparagraph below.

a. Prime Coat:  Interior latex primer/sealer or matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Alkyd Over Latex Primer System:  MPI INT 9.2C.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

3. Institutional Low-Odor/VOC Latex System:  MPI INT 9.2M.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:  MPI INT 9.2B.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

K. Plaster Substrates:

1. Latex System:  MPI INT 9.2A.

For a Premium Grade system, select primer/sealer option in subparagraph below.

a. Prime Coat:  Interior latex.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

2. Latex Over Alkyd Primer System:  MPI INT 9.2K.

a. Prime Coat:  Interior alkyd primer/sealer.

For Custom and Premium Grade systems, "MPI Manual" requires intermediate coat.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

3. Alkyd Over Latex Primer System:  MPI INT 9.2C.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd.

4. Institutional Low-Odor/VOC Latex System:  MPI INT 9.2M.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Institutional low-odor/VOC interior latex matching topcoat.

c. Topcoat:  Institutional low-odor/VOC interior latex.

Delete system in subparagraph and associated subparagraphs below if high-performance architectural latex systems are specified in Division 9 Section "High-Performance Coatings." They are recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

5. High-Performance Architectural Latex System:  MPI INT 9.2B.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  High-performance architectural latex matching topcoat.

c. Topcoat:  High-performance architectural latex.

L. Spray-Textured Ceiling Substrates:

1. Latex (Flat) System:  MPI INT 9.1A, spray applied.

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Custom Grade system.

a. Prime Coat:  Interior latex.

b. Topcoat:  Interior latex (flat).

2. Latex System:  MPI INT 9.1E, spray applied.

a. Prime Coat:  Interior latex matching topcoat.

For Custom and Premium Grade systems, "MPI Manual" requires intermediate coat.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex.

3. Latex Over Alkyd Primer System:  MPI INT 9.1B.

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Custom Grade system.

a. Prime Coat:  Interior alkyd primer/sealer.

b. Topcoat:  Interior latex.

4. Alkyd (Flat) System:  MPI INT 9.1C.

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; it does not include a Custom Grade system.

a. Prime Coat:  Interior alkyd (flat).

b. Topcoat:  Interior alkyd (flat).

5. Alkyd System:  MPI INT 9.1D.

a. Prime Coat:  Interior alkyd primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd

END OF DOCUMENT
INTERIOR PAINTING

09912 - 1

