ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1

FIRE STATION #19

57047 ALLEN ROAD

SLIDELL LA  70461


Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 331113
POTABLE WATER SUPPLY WELLS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

1. Potable Water Supply Wells.

1.2 PERFORMANCE REQUIREMENTS

A. Delegated Design:  Contractor shall hire a licensed company to design and install the Potable Water Supply Well.  Minimum Performance Capacity: 5 gallons per minute.
1.3 ACTION SUBMITTALS

A. Product Data: For each type and size of pump indicated.

B. Shop Drawings: Show layout and connections for well pumps.

1. Include wiring diagrams.

1.4 INFORMATIONAL SUBMITTALS

A. Field quality-control reports.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.
B. Demonstration and Training.  Provide site personnel training on operation of the water well.
1.6 QUALITY ASSURANCE

Retain first paragraph below if required; delete if not available at Project location.

A. Potable Water Supply Wells Qualifications: An experienced Potable Water Supply Wells licensed in the jurisdiction where Project is located.

B. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

C. Comply with the Louisiana Public Health – Sanitary Code Part XII for Water Wells and St Tammany Parish Health Department.

PART 2 -  PRODUCTS

Not Used
Select one of first three paragraphs below. Authorities having jurisdiction may require or allow other materials.

PART 3 -  EXECUTION

Not Used
Retain one of two paragraphs in this Article. Retain first if data are available from Owner; retain second if data are available from neighborhood wells.

END OF SECTION 331113
	POTABLE WATER SUPPLY WELLS
	331113 - 1



