ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1

FIRE STATION #19

57047 ALLEN ROAD

SLIDELL LA  70461


Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 333400
ONSITE WASTEWATER DISPOSAL
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

1. Individual Sewage Treatment System.

1.2 PERFORMANCE REQUIREMENTS

A. Delegated Design:  Contractor shall hire a licensed company to design and install the Individual Sewage Treatment System.  Minimum Performance Capacity: 600 gallons per day.
1.3 ACTION SUBMITTALS

A. Product Data: For each type and size of pump indicated.

B. Shop Drawings: Show layout and connections for well pumps.

1. Include wiring diagrams.

1.4 INFORMATIONAL SUBMITTALS

A. Field quality-control reports.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.
B. Demonstration and Training.  Provide site personnel training for Onsite Wastewater Disposal system.  
1.6 QUALITY ASSURANCE

Retain first paragraph below if required; delete if not available at Project location.

A. Individual Sewage Treatment System Qualifications: An experienced Individual Sewage Treatment System licensed in the jurisdiction where Project is located.

B. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

C. Comply with the Louisiana Public Health – Sanitary Code Part XIII for Sewage Disposal.

PART 2 -  PRODUCTS

Not Used
Select one of first three paragraphs below. Authorities having jurisdiction may require or allow other materials.

PART 3 -  EXECUTION

Not Used
Retain one of two paragraphs in this Article. Retain first if data are available from Owner; retain second if data are available from neighborhood wells.

END OF SECTION 333400
	ONSITE WASTEWATER DISPOSAL
	333400 - 1



