DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

July 6, 2010

Mr. Gordon Cameron

State of Louisiana Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, Louisiana 70806

RE:
PO381505

CSP Area Upgrade

Slidell Memorial Hospital

Slidell, La. 70458

Dear Mr. Cameron,
We are in receipt of your letter for the CSP Area Upgrade (copy attached) and have made the changes to reflect your comments.  Please see the revised drawings that are enclosed in this package. 

Changes to the drawings include: adding a door in the corridor to conform to the fifty-foot travel distance maximum and showing a section of the building where the vent hood is installed to indicate that this is a single story building.  

If you have any questions, or require any additional information, please feel free to call.
Sincerely,

Pete Dammon

Dammon Engineering 

