SLIDELL MEMORIAL HOSPITAL

WOMEN’S IMAGING CENTER

1495 GAUSE BLVD.

Slidell LA  70458



SECTION 01100
SUMMARY
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

1. Work covered by the Contract Documents.

2. Type of the Contract.

3. Work phases.

4. Work under other contracts.

5. Products ordered in advance.

6. Owner-furnished products.

7. Use of premises.

8. Owner's occupancy requirements.

9. Work restrictions.

10. Specification formats and conventions.

B. Related Sections include the following:

1. Division 1 Section "Temporary Facilities and Controls" for limitations and procedures governing temporary use of Owner's facilities.

1.3 WORK COVERED BY CONTRACT DOCUMENTS

A. Project Identification:  Slidell Memorial Hospital – Women’s Imaging Center Wing

1. Project Location:  1495 Gause Blvd., Slidell, Louisiana

B. Owner:  St. Tammany Parish Hospital Service District No. 2, dba Slidell Memorial Hospital

1. Owner's Representative:  Mr. Robert L. Hawley, Jr.

C. Architect:  Dammon Engineering, Inc.

D. Contractor:  ___________________________________ has been engaged as Contractor for this Project.

E. The Work consists of the following:

1. The Work includes new wing to Women’s Imaging Center.

1.4 TYPE OF CONTRACT

A. Project will be constructed under a single prime contract.

1.5 OWNER-FURNISHED PRODUCTS

A. Owner will furnish products indicated on the plans.  The Work includes providing support systems to receive Owner's equipment and making plumbing, mechanical, and electrical connections.

1. Contractor is responsible for receiving, unloading, and handling Owner-furnished items at Project site.

2. Contractor is responsible for protecting Owner-furnished items from damage during storage and handling, including damage from exposure to the elements.

3. If Owner-furnished items are damaged as a result of Contractor's operations, Contractor shall repair or replace them.

4. Contractor shall install and otherwise incorporate Owner-furnished items into the Work.

1.6 USE OF PREMISES

A. Use of Site:  Limit use of premises to work in areas indicated.  Do not disturb portions of Project site beyond areas in which the Work is indicated.

1. Owner Occupancy:  Allow for Owner occupancy of Project site and use by the public.

2. Driveways and Entrances:  Keep driveways loading areas, and entrances serving premises clear and available to Owner, Owner's employees, and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.

a. Schedule deliveries to minimize use of driveways and entrances.

b. Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

B. Use of Existing Building:  Maintain existing building in a weathertight condition throughout construction period.  Repair damage caused by construction operations.  Protect building and its occupants during construction period.

1.7 OWNER'S OCCUPANCY REQUIREMENTS

A. Full Owner Occupancy:  Owner will occupy site and existing adjacent building during entire construction period.  Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage.  Perform the Work so as not to interfere with Owner's day-to-day operations.  Maintain existing exits, unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities.  Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and authorities having jurisdiction.

2. Provide not less than 72 hours' notice to Owner of activities that will affect Owner's operations.

1.8 WORK RESTRICTIONS

A. On-Site Work Hours:  Work shall be generally performed inside the existing building during normal business working hours, early morning hours, and weekend hours, all by pre-arrangement only.

B. Existing Utility Interruptions:  Do not interrupt utilities serving facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

1. Notify Architect and Owner not less than two days in advance of proposed utility interruptions.

C. Nonsmoking Building:  Smoking is not permitted within the building or within 25 feet of entrances, operable windows, or outdoor air intakes.

1.9 SPECIFICATION FORMATS AND CONVENTIONS

A. Specification Format:  The Specifications are organized into Divisions and Sections using the 16-division format and CSI/CSC's "MasterFormat" numbering system.

1. Section Identification:  The Specifications use Section numbers and titles to help cross-referencing in the Contract Documents.  Sections in the Project Manual are in numeric sequence; however, the sequence is incomplete because all available Section numbers are not used.  Consult the table of contents at the beginning of the Project Manual to determine numbers and names of Sections in the Contract Documents.

2. Division 1:  Sections in Division 1 govern the execution of the Work of all Sections in the Specifications.

B. Specification Content:  The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations.  These conventions are as follows:

1. Abbreviated Language:  Language used in the Specifications and other Contract Documents is abbreviated.  Words and meanings shall be interpreted as appropriate.  Words implied, but not stated, shall be inferred as the sense requires.  Singular words shall be interpreted as plural, and plural words shall be interpreted as singular where applicable as the context of the Contract Documents indicates.

2. Imperative mood and streamlined language are generally used in the Specifications.  Requirements expressed in the imperative mood are to be performed by Contractor.  Occasionally, the indicative or subjunctive mood may be used in the Section Text for clarity to describe responsibilities that must be fulfilled indirectly by Contractor or by others when so noted.

a. The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

1.10 MISCELLANEOUS PROVISIONS

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF DOCUMENT
SUMMARY

01100 - 1

