Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 1

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  04/08/2014			TIME:  11:15 AM	WEATHER: Cloudy 	TEMP RANGE:  69°

EST % OF COMPLETION:  1%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Demolition in phase 1				Lanco/Contractor's Employees/Kim Guzman

OBSERVATIONS:

Phase 1 demolition has started on Monday.

ITEMS TO VERIFY:

Get with Walgreens to verify a/c diffuser type for their build out.

INFORMATION OR ACTION REQUIRED:  See Above

ATTACHMENTS: