Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 10

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  06/09/2014			             TIME: 11:05 AM	WEATHER: Cloudy	TEMP RANGE: 89°

EST % OF COMPLETION:  10%			CONFORMANCE WITH SCHEDULE (+/-):  - Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Phase 2			    	                           Flooring Installers

OBSERVATIONS:

Phase II started over the weekend with the demising wall between Walgreens and Cardio Rehab area. Demoing walls, removing ceilings. Electrical contractor on site installing new wiring in walls.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: