Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 11

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  06/16/2014			             TIME: 1:25 PM	WEATHER: Clear	TEMP RANGE: 86°

EST % OF COMPLETION:  25%			CONFORMANCE WITH SCHEDULE (+/-):  - Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Phase 2			    	                           Electrician & Painter

OBSERVATIONS:

Building new walls & sheet rocking. Electrician adding outlets, Switches and lighting as needed. Painter is preparing walls for paint.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: