Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 15

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  07/14/2014			             TIME: 8:40 AM	WEATHER: Clear	TEMP RANGE: 79°

EST % OF COMPLETION:  20%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Walgreens		    	                           Contractor/Helpers

OBSERVATIONS:

The Cardio Rehab area is 98% complete, Steve Campbell and I will prepare a punch list for this area to turn over to the contractor for 100% completion. The Walgreens area is underway with demo and erecting new stud walls, running electrical wiring before the walls are closed in.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: