Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 16

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  07/21/2014			             TIME: 10:40 AM	WEATHER: Clear	TEMP RANGE: 85°

EST % OF COMPLETION:  65%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Walgreens		    	                           Contractor/Helpers/Trades

OBSERVATIONS:

Wiring all electrical components, installing security mesh and sheetrock. Preparing to float the walls for paint. The Cardio area (phase 1) punch list items are in progress and will be completed soon.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: