Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 7

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  05/14/2014			             TIME: 03:05 PM	WEATHER: Rain/Cloud	TEMP RANGE: 75°

EST % OF COMPLETION:  75%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Phase 1			    	                           Lanco/Contractor's Employees

OBSERVATIONS:

Fire Marshal & City Inspector passed today’s inspection. Contractor is installing ceiling tiles and painting walls.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: