DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

 August 31, 2007
City Of Biloxi Building Code Plan Review

Biloxi Building Code Office

676 Dr. Martin Luther King Blvd.

Biloxi, MS. 

Attn: Michael Hornbeck

Ref: La Quinta Inn Suites

        Cedar Lake Road

        Biloxi, MS.

Dear Mr. Hornbeck

We have directed the contractor to install Titian HD bolts 5/8”x6-1/2” everywhere there is a j   bolt that did not meet the required separation distance for the bottom plates per the plans.    

Please call me with any questions or concerns you may have.

Thank you,

Emmett Dammon 

