PUBLIC WORKS DEPARTMENT
Richard Sullivan, Director
ENGINEERING DIVISION
Damon Torricelli, P.E. City Engineer
Post Office Box 429

Biloxi, Mississippi 39533

Phone:
(228) 435-6265


(228) 435-6269

Fax:
(228) 435-6179
[image: image1.png]



________________________________________________________________________

Updated:5/19/06

GENERAL NOTES

FOR STORMWATER MANAGEMENT PLANS

Notes

The following notes shall be included on the erosion control plan that is submitted to the City, not all of the notes will be applicable at all times.

1. The placement of erosion and sediment control Best Management Practices (BMPs) shall be in accordance with the Mississippi Department of Quality’s Planning and Design Manual for the Control of Erosion, Sediment and Stormwater.
2. Natural vegetation shall be maintained and protected wherever possible.  

3. All construction traffic shall enter/exit the site through the construction entrance, a construction entrance is required at all access points on the site.

4. Contractor is responsible for maintaining erosion controls throughout the duration of the project. 

5. Temporary or permanent vegetative practices shall be implemented within seven calendar days when a disturbed area will be left undisturbed for thirty days or more.

6. Temporary erosion and sediment controls shall not be removed until permanent erosion controls are established on all disturbed areas.  Final approval on the project will not be made until all temporary erosion controls are removed and permanent erosion controls are effectively established. 

7. All equipment repair and maintenance shall be done offsite.

8. Receptacles shall be provided to properly dispose of all trash and waste.  All construction debris shall be picked up at the end of each day and shall be removed completely from the site at the end of the project.

9. Sanitary facilities shall be provided on-site for all employees.

10. Temporary erosion and sediment controls shall be installed prior to the start of any work. If it will be required to remove them temporarily due to construction activities, once those activities are completed or at the end of the work day, the temporary controls shall be reinstalled immediately.

11. All erosion controls shall be installed in accordance with the details.

12. Additional erosion and sediment controls may be deemed necessary if the controls found in this Stormwater Management Plan are found to be ineffective.

13. Accumulated sediment shall be removed from controls when it reaches ½ the height of the control.  The sediment shall be properly disposed of so as not to cause sedimentation in another location.

14. Erosion and sediment controls shall be inspected weekly and following any rain event. Non-functioning, ineffective or damaged controls shall be repaired, replaced or supplemented with functional controls within 24 hours of discovery.

15. The contractor is responsible for the removal of any sediment that migrates into the storm drain system.  

16. The contractor is responsible for the removal of any sediment or construction debris that is tracked onto adjacent paved areas.  Adjacent streets shall be kept clean throughout construction and shall be cleaned with a street-sweeper or similar technique immediately upon discovery of sediment.  Washing down of the street or any paved areas is not allowed.

17. Any sediment that has migrated offsite whether onto public or private property shall be removed immediately upon discovery. 

18. Certificate of Development Compliance shall not be approved until all permanent erosion controls are established and temporary erosion controls are able to be removed.

Engineers Checklist for Stormwater Management

2 of 2

