
SECTION 10523

FIRE EXTINGUISHERS AND CABINETS

PART 1 GENERAL

1.1 SUMMARY

A. Provide fire extinguishers and cabinets as required by applicable Building Codes and Authorities Having Jurisdiction.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: J. L. Industries, Larsen’s Manufacturing, Potter-Roemer, or approved equal.

B. Fire Extinguishers:

Type:  Multipurpose dry chemical type.

1. Rating:  Sized for project requirements.

2. Public Area Mounting:  Cabinet mounted.

3. Service Area Mounting:  Metal brackets.

C. Cabinets:

Mounting:  Recessed.

1. Trim:  Trimless with hidden flange.

2. Doors:  Enameled steel, baked enamel finish.

3. Doors:  Acrylic.

END OF SECTION


FIRE EXTINGUISHERS AND CABINETS


10523-1

