
SECTION 15242PRIVATE 


VIBRATION ISOLATION
PART 1
GENERAL

1.1
SUMMARY


A.
Provide vibration isolators for motor driven equipment.


B.
Provide spring isolators on piping connected to isolated equipment.


END OF SECTION

La Quinta Inns
15242 - 1
May 11, 2001

