SECTION 15440

PLUMBING FIXTURES

PART 1  GENERAL

1.1
SUMMARY


A.
Provide plumbing fixtures as shown on the drawings. Install in accordance with manufacturer's instructions. Install each fixture with trap, easily removable for servicing and cleaning. Provide chrome plated rigid or flexible supplies to fixtures with loose key stops, reducers, and escutcheons.  Install components level and plumb.  Install and secure fixtures in place with wall supports and bolts.  Seal fixtures to wall and floor surfaces with non-hardening sealant, color to match fixture.  Solidly attach water closets to floor with lag screws.  Lead flashing is not intended to hold fixture in place.


B.
Adjust stops or valves for intended water flow rate to fixtures without splashing, noise, or overflow.

END OF SECTION

