
SECTION 15782PRIVATE 


PACKAGED TERMINAL AIR CONDITIONING UNITS

PART 1  GENERAL

1.1
SECTION INCLUDES


A.
Packaged terminal air conditioning units.


B.
Wall sleeves


C.
Louvers.


D.
Controls.

1.2
REFERENCES


A.
ARI 210 ‑ Unitary Air‑Conditioning Equipment.

PART 2
PRODUCTS

2.1
MANUFACTURERS


A.
Amana


B.
Carrier


C.
General Electric


D.
Trane


E.
Substitutions: Under provisions of Section 15010.

2.2
MANUFACTURED UNITS


A.
Provide packaged, self‑contained, through‑the‑wall air cooled terminal air conditioning units, with wall sleeve, room cabinet, electric refrigeration system, electric heating, outside air louvers and built‑in temperature controls.

2.3
CABINET


A.
Cabinet: Wall mounted of 18 gauge galvanized steel with baked enamel finish, removable front panel with concealed latches.


B.
Discharge Grill and Access Door: Removable, punched louver discharge grills allowing 4‑way discharge air pattern, with hinged door in top of cabinet for access to controls.

2.4
WALL SLEEVES AND LOUVERS


A.
Wall Sleeves: 16 gauge galvanized steel with protective mastic coating.


B.
Louvers: Custom Architectural/aluminum with baked on enamel paint color Sherwin Williams, Frosty White.

2.5
CHASSIS


A.
Refrigeration System:


B.
Direct expansion cooling coil.


C.
Hermetically sealed compressor with internal spring isolation, external isolation, permanent split capacitor motor and overload protection.


D.
Condenser coil and fan.

E. Capillary restrictor.


F.
Air System: Centrifugal forward curved evaporator fans with two speed permanent split capacitor motor, permanent washable filters, positive pressure ventilation damper with concealed manual operator.


G.
Heating Coil: Electric.


H.
Condensate Drain: Drain pan to direct condensate to condenser coil for re‑evaporation.


I.
Condenser Fan: Centrifugal, forward curved type with permanent split capacitor motor.

2.6
CONTROLS


A.
Control Module: Unit mounted adjustable thermostat with heat anticipator, heat‑cool‑off switch, high‑low fan switch.

PART 3
EXECUTION

3.1
INSTALLATION


A.
Install in accordance with manufacturers' instructions.


B.
Coordinate installation of units with architectural and electrical work.


END OF SECTION

PACKAGED TERMINAL AIR CONDITIONING UNITS

15782 - 1

