
SECTION 02362

TERMITE CONTROL

PART 1 - GENERAL

1.01 SUMMARY

A. Provide soil treatment for termite control.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Warranty:  Submit manufacturer’s standard warranty.  Include labor and materials to repair or replace defective materials.

1. Warranty Period:  5 years.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Soil Treatment Materials:  Soil treatment materials shall bear Federal registration number of U.S. Environmental Protection Agency and acceptable to authorities having jurisdiction.  If acceptable, products may include chloropyrifos, permathrin, cypermethrine, fenvalerate, isofenphose.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Treat soil in strict compliance with National Pest Control Association standards and with manufacturer's printed instructions and recommendations.

B. Treat areas under  floor slabs prior to placement of concrete if possible to avoid drilling.  Treat areas outside foundation walls after excavation,  filling and grading are complete.  Do not apply treatment to frozen or excessively wet soils.

C. Post signs and other warnings indicating that soil poisoning has been applied.  Protect persons and property from injury or damage from soil treatment work.

END OF SECTION


TERMITE CONTROL


02362-1

