
SECTION 02900

PLANTING

PART 1 - GENERAL

1.01 SUMMARY

A. Provide landscape work:

1. Trees, shrubs, plants, and ground cover.

2. Finish grading and lawns.

3. Topsoil and soil amendments.

4. Initial maintenance of landscape materials.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Shop Drawings:  Submit shop drawings indicating material characteristics, details of construction, connections, and relationship with adjacent construction.

C. Maintenance Data:  Submit maintenance data, including maintenance schedule.

D. Notices:  Submit 48-hour written notice prior to turnover to Owner for watering and maintenance.

E. Warranty:  Warrant trees and shrubs for a period of one year after date of Substantial Completion, against defects including death and unsatisfactory growth and except for defects resulting from neglect by Owner, abuse by others, or natural phenomena.  Replace unsatisfactory plant material at end of warranty period at no additional expense to the Owner.  One replacement is required.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. Balled and Burlapped Plants and Trees:  Graded to American Standard for Nursery Stock, ANSI Z60.1.

C. Testing:  Laboratory testing for suitable soil amendments and fertilizer.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Plant Materials:

1. Deciduous trees.

2. Deciduous shrubs.

3. Coniferous and broadleaf evergreen trees and shrubs.

4. Ground cover.

5. Plants.

B. Lawns:  Seed, new crop seed mixture.

C. Lawns:  Sod, strongly rooted, 2 years old.

D. Topsoil:  Fertile, friable topsoil from offsite.

E. Topsoil:  From site stockpile with additional fertile, friable topsoil from local source.

F. Soil Amendments:

1. Sand:  Clean, washed sand.

2. Commercial Fertilizer:  Neutral character for plant materials and lawns.

3. Mulch:  Ground or shredded pine bark mulch.

G. Landscape Materials:

1. Gravel:  Water-worn gravel.

2. Anti-Erosion Mulch:  Seed-free salt hay or threshed straw.

3. Plastic Sheet:  Black polyethylene, 8 mils.

4. Filtration Fabric:  Water permeable fiberglass or polypropylene fabric.

5. Wrapping:  Tree-wrap tape.

6. Stakes and Guys:  New hardwood, treated softwood, or redwood.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Install materials in accordance with approved submittals.  Install landscape work in proper relation with adjacent construction and with uniform appearance.  Coordinate with work of other sections.

B. Prepare topsoil by mixing fertilizer with loam.  Apply fertilizer at a rate of 2 pounds of actual nitrogen per 1000 sq. ft. for plant beds and 2 pounds per inch of trunk for tree pits.

C. Install soil mix to a depth of 18" in plant beds.

D. For seeded lawns, apply seed at rate of 5 pounds per 1000 square feet.

E. For lawns with sod, place sod tightly, with grain in same direction.

F. Excavate as required for trees and shrubs.

G. Install plant material and backfill with soil mix.  Stake and guy trees.  Water thoroughly.  Allow for soil settlement.

H. Provide maintenance and watering until turnover to Owner’s for maintenance and watering.  Replace damaged materials and dead or unhealthy plants prior to turnover to Owner.

END OF SECTION


PLANTING


02900-2

