
SECTION 05500

METAL FABRICATIONS

PART 1 GENERAL

1.1 SUMMARY

A. Provide the following metal fabrications:

Ladders (including elevator pit ladders).

1. Shelf and relieving angles.

2. Miscellaneous framing and supports for suspended toilet partitions.

3. Miscellaneous framing and supports for suspended operable partitions.

4. Miscellaneous framing and supports for elevator hoisting machines and sheaves.

5. Miscellaneous framing and supports for elevator door sills.

PART 2 PRODUCTS

2.1 MATERIALS

A. Ferrous Materials:

Steel Plates, Shapes and Bars:  ASTM A 36.

1. Steel Tubing:  ASTM A 500 or A 501.

2. Zinc-Coating:  Hot-dip galvanized coating for materials in exterior assemblies or exterior walls.

B. Fasteners:

Bolts and Nuts:  Hexagon head type, ASTM A 307, Grade A.

1. Lag Bolts:  Square head, FS FF-B-561.

C. Auxiliary Materials:

Shop Primer:  Alkyd primer, FS TT-P-645, compatible with topcoats.

1. Galvanizing Repair Paint:  SSPC - Paint 20.

2. Bituminous Paint:  Asphalt mastic, SSPC - Paint 12.

END OF SECTION


METAL FABRICATIONS


05500-1

