LQ


SECTION 05810

EXPANSION JOINT COVER ASSEMBLIES

PART 1 GENERAL

1.1 SUMMARY

A. Provide expansion joint cover assemblies:

Floor expansion joint cover assemblies.

1. Wall expansion joint cover assemblies.

2. Ceiling expansion joint cover assemblies.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: Balco/Metalines, Conspec Systems, MM Systems, Watson Bowman Acme, or approved equal.

B. Assemblies:

Type:  Metal assembly with flat cover plates.

C. Expansion Joint Cover Materials:

Bronze:  ASTM B 455, alloy C38500 for extrusions; alloy C28000, Muntz metal for plates.

1. Elastomeric Sealant:  ASTM C 920, Use T.

D. Finishes:

1. Bronze Finish:  Natural satin finish.

END OF SECTION


EXPANSION JOINT COVER ASSEMBLIES


05810-1

