
SECTION 07240

EXTERIOR INSULATION AND FINISH SYSTEMS

PART 1 - GENERAL

1.01 SUMMARY

A. Provide exterior insulation and finish systems.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Shop Drawings:  Submit shop drawings indicating material characteristics, details of construction, connections, and relationship with adjacent construction.

C. Samples:  Submit two representative samples of each material specified indicating visual characteristics and finish.  Include range samples if variation of finish is anticipated.

D. Warranty:  Submit manufacturer’s standard warranty.  Include labor and materials to repair or replace defective materials.

1. Warranty Period:  5 years.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. Mock-Ups:  Provide mock-up as required to demonstrate quality of workmanship.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Manufacturers: Acrocrete, Inc., Dryvit Systems, Inc., Parex Incorporated., Pleko Products, Inc., Senergy Div. of Harris Specialty Chemicals., Sto Corp. or approved equal.

B. Finish Coating over Molded Polystyrene Board:

1. Type:  EIMA Class PB, or as required by Authority Having Jurisdiction.

2. Base Coat:  Portland cement and polymer adhesive.

3. Finish Coat:  Polymer emulsion.

4. Thermal Insulation:  Molded rigid cellular polystyrene.

5. Reinforcing Fabric:  Standard weight with high-impact type at areas subject to damage.

6. Insulation Attachment:  Adhesive and mechanical anchors.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Inspect substrate and report unsatisfactory conditions in writing; beginning work means acceptance of substrate.

B. Comply with system manufacturer's instructions and recommendations; admixtures shall not be used.  Provide reinforced base and finish coats to provide a uniform appearance.  Completely cover all insulation board including edges.  Provide soft joints at all changes of substrate and at intervals suggested by manufacturers and at approved locations.  Install areas of special patterns where indicated on drawings.  Clean and protect work.

END OF SECTION


EXTERIOR INSULATION AND FINISH SYSTEMS


07240-1

