
SECTION 08310

ACCESS DOORS AND PANELS

PART 1 GENERAL

1.1 SUMMARY

A. Provide access doors and panels for walls and ceilings.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: J. L. Industries, Karp Associates, Milcor, or approved equal.

B. Access Doors:

Frames:  16 gauge (.0598 inch) sheet steel with flange suitable for adjacent material.

1. Doors:  14 gauge (.0625 inch) sheet steel.

2. Door Type:  Flush panel.

3. Locking Devices:  Cylinder locks.

4. Fire Rating:  NFPA 80.

END OF SECTION


ACCESS DOORS AND PANELS


08310-1

