[image: image1.jpg]® DAMMON

ENGINEERING, INC.

~ DESIGN & CONSTRUCTION MANAGEMENT





Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net



July 9, 2012

Office of State Fire Marshal

Attn: Ms. Margaret Hill
8181 Independence Blvd.

Baton Rouge, LA 70806
Re: LaQuinta Inn, Gonzales, LA

      PO417528

Dear Ms. Hill,

Thank you again for spending time with me last week to review the Information Request letter, a copy of which is attached.

In this package please find a set of stamped drawings that I would like you to substitute for the drawings you have in hand. That will be the simplest way to provide you with the information requested.

Regarding Item No. 1, we have provided a two room accessible suite as requested, on the ground floor, Sht. A-1.

Regarding Item No. 2, we have provided greater separation of means of egress in accordance with code, also on Sht. A-1.

Regarding Items No. #3 & 4, please find additional drawings in the set.

Please contact me if I can further assist you with this review.

Sincerely,

Robert Wiltse

Chief Architect

Dammon Engineering, Inc.

