554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

ADDENDUM NO. 1

29 October 2013

La Quinta Inn & Suites

109 Lundy Lane

Hattiesburg, Mississippi 39401

- Change copper feeders to aluminum, (no splicing of feeders allowed).

- Change 30 Amp ptacs to 20 Amp ptacs.

- Change 400 watt lamp poles to LED fixtures.