554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

ADDENDUM NO. 2

14 NOVEMBER 2013

La Quinta Inn & Suites

109 Lundy Lane

Hattiesburg, Mississippi 39401

- Do not allow the change of copper feeders to aluminum as noted in addendum #1.

See sheet E-5 for transformer to MDP allowances of aluminum.

- Revised electrical panels for 20amp ptacs.

- Revised MDP to a 2000 AMP MDP all associated wiring sizes.