STORM WATER POLLUTION

PREVENTION PLAN

FOR

LaQuinta Inn & Suites

109 Lundy Lane

City of Hattiesburg

Lamar County, Mississippi

June 18, 2013

PREPARED BY:

554 Old Spanish Trail

Slidell, Louisiana 70458

985.639.5832

TABLE OF CONTENTS

SECTION										PAGE NO.

- Introduction									2

- Site Information

- Description of Work								2

- Potential Pollution Sources							2

- Non-Storm Water Discharges						2

- Non-Storm Water Solid Materials						3

- Best Management Practices

- Vegetative Controls								3

- Structural Controls								3

- Housekeeping Practices							4

- Post Construction Storm Water Management Measures			4

- Implementation Sequence

- Inspections, Maintenance and Reporting

- Inspections									5

- Maintenance									6

- Reporting									6

- Revisions										6

Appendix A – Vegetative Seeding Schedule

Appendix B – Small Construction Forms Package

Appendix C – U.S.G.S. Quadrangle Map with Project Location

DRAWINGS

- Storm Water Pollution Prevention Plan – Site Plan

- SWPPP Details (if not included on plan)

- INTRODUCTION

The purpose of the Storm Water Pollution Prevention Plan (SWPPP) is to provide a site specific description of the best management practices to prevent contamination of the storm water with potential pollutants from construction activities related to the proposed project.  The storm-water pollution prevention plan has been prepared as required by the Mississippi Department of Environmental Quality in compliance with the application regulations for coverage under the construction storm water general NPDES permit.

This storm water pollution prevention plan is to be incorporated into the routine construction activities at the development.  The potential sources of pollutions have been identified at the site and are described in this plan.  Several pollution control measures are specified in the plan to prevent contamination of storm water runoff from those sources.  The plan also outlines implementation, inspection, and maintenance requirements.  The erosion and sediment control practices should be monitored and the plan revised if the quality of storm water runoff is not satisfactory.

- SITE INFORMATION

- Description of Work:  The construction of the hotel with parking and storm-water drainage facilities.  The total disturbed area for this project is estimated at 2.011 acres.  The site consists primarily of sandy loam soils.  The site slopes ranging from 1 to 30 percent which will make for a moderate hazard for erosion.  The development area drains to the north to a 10’ drainage easement.

- Potential Pollution Sources:  The most significant potential pollutants are soil particles subject to removal by storm water.  Other potential pollutants subject to removal by storm water are spilled fuel and lubricants.  Material may also be inadvertently tracked off-site or blown off-site when distributed by hauling equipment.

- Non-Storm Water Discharges:  Potential non-storm water discharges consist of irrigation water and watering of the haul roads to control dust.  Due to the permeability of the soil and the arid conditions when this activity is required, no significant impact is anticipated from these sources.

- Non-Storm Water Solid Materials:  The on-site generation of solid materials will be minimal, and its proper disposal will be closely monitored.  All solid waste will be taken off-site for proper disposal.

- BEST MANAGEMENT PRACTICES AND CONTROLS

- Vegetative Controls:  Existing trees will be preserved where possible.  All diversions will be seeded (permanent seeding) within seven (7) days of construction.  Topsoil will be stockpiled for use in landscaping, Grass-lined waterways will be dressed with a thin layer of topsoil, seeded and mulched within seven (7) calendar days of construction.  Temporary straw-net liners may be required on steeper ditches and slopes to facilitate vegetative growth.  Steeper ditch slopes may require permanent treatment such as solid sod or concrete paving of the inverts to prevent erosion.  All 3:1 cut slopes will be roughened by disking prior to seeding.  Any disturbed areas that will be left undisturbed for fourteen (14) or more days will be seeded (temporary seeding) within seven (7) calendar days.  After final grading, all disturbed areas will be seeded (permanent seeding) within seven (7) calendar days.

See Appendix A for seed, fertilizer, and mulching rates.

- Structural Controls:  Silt fence (and hay bales if needed for structural support) shall be placed around the perimeter of the property to keep sediment from leaving the property.  Riprap energy dissipaters may be needed at pipe outfalls and other locations to reduce velocities and minimize erosion.  Upslope waters shall be diverted around disturbed areas.  All cut slopes will be at or below 3:1 grade.  Silt fence barriers shall be installed in roadway ditches intermittently as needed to minimize erosion and to control sedimentation.  A construction entrance will be built and any accumulation of mud on vehicle tires will be washed, if needed, during muddy conditions.  Inlet protections (silt fences) will be installed at all storm drain inlets.  A silt fence will be constructed around the topsoil stockpile.  Riprap will be placed at culvert outlet aprons per the plan or as needed.  A sediment pond will be excavated for concrete trucks to wash mixer chutes.  Drivers will be instructed to return any materials to the concrete batch plant and complete final washing procedures at that location.

- Housekeeping Practices:  All equipment maintenance and repair will be done off-site.  Trash cans or dumpsters will be placed at convenient locations throughout site.  The main trash collection bin will be located for convenient use and pick up by disposal entity.  Paints, solvents, fertilizers, or any other potentially toxic materials will not be stored on-site.  Portable sanitary facilities will be provided for construction workers during home construction.  Concrete truck wash off will be in designated basin to be constructed for that purpose.

- Post Construction Storm Water Management Measures:  10 x 12 splash blocks shall be placed at pipe culvert outfalls as needed to minimize erosion.  Ditch slopes in excess of three (3) percent slope shall receive permanent stabilization such as solid sod or concrete paving, as needed.  Any sediment basins designated to be converted to detention basins shall be improved and stabilized.

- IMPLEMENTATION SEQUENCE

The owner or prime contractor shall prepare an orderly listing which coordinates the timing of all major land-disturbing activities together with the necessary erosion and sedimentation control measures planned for the project.  For the purposes of this project, the Implementation Sequence is described below:

- Construction Entrance

- Equipment Maintenance and Storage Areas

- Install Silt Fence (down slope of clearing/grubbing, fill areas)

- Clearing and Grubbing of Sediment Basin(s) Areas

- Construct Sediment Basin(s)and appurtenances

- Clearing/Grubbing Site

- Strip and Stockpile Topsoil with Silt Fence Barrier

- Grading For Site Construction

- Drainage Structures (Culverts, Etc.) with Inlet/Outlet Protection

- Plant Temporary Vegetation on Ditches/Disturbed Areas

- Installation of Silt Fences, Etc. in Ditches

- Install Utilities

- Complete Building and Parking Construction/Paving

- Apply Topsoil To Disturbed Areas/Plant Permanent Vegetation And Ditch Treatment As Needed (Sod, Concrete Ditch Paving, Etc.)

- After Site is Stabilized, Remove all Temporary Measures (Sed. Basin, Etc.)

- INSPECTIONS, MAINTENANCE AND REPORTING

- Inspections:  Inspections of the best management practices and other storm water pollution prevention plan requirements shall be performed by the contractor or owner as follows:

- At least once weekly.

- Within 24 hours after rainfall events of a half-inch or more.

- As often as necessary to insure that appropriate erosion and sediment controls have been properly constructed and maintained.

- Maintenance:  Any deficiencies noted during the inspection process should be repaired or remedied within 24 hours.  Remove sediment from the basin, inlet protection devices and silt fences when accumulated sediment has reached 50 percent capacity.  Replace non-functional silt fence.  Maintain all vegetated areas to provide proper ground cover; reseed, fertilize and mulch as needed to minimize erosion and sedimentation.

- Reporting:  The owner and/or contractor must inspect, as described in above section, and maintain controls and keep all reports on file noting damages or deficiencies and corrective measures, using the form provided in the appendix of this plan.  No reports should be submitted to the Mississippi Department of Environmental Quality unless specifically requested.  As previously stated, all records, reports, and information resulting from activities required by this plan and your permit should be retained for at least three years from the date of the CNOI, inspection or report.

A rain gauge is recommended to be placed in a central location on the site and used to obtain rainfall amounts.  This information will assist with proper completion of the inspection report.

IV.	REVISIONS

The storm water prevention plan will be kept current by the company representative and will be revised as changes in site conditions warrant.  The company representative may notify the SWPPP developer for assistance when necessary.  Factors that would compel the SWPPP to be modified include:

- Significant inadequacies revealed by routine inspections.

- Changes in identified sources, non-storm water discharges, or non-storm water solid wastes; or

- MDEQ or local agency notification that the plan does not meet one or more of the minimum requirements.

- An increase in the scope of the project outside of the original plan.  An updated SWPPP and related SCNOI form should be submitted to the MDEQ for approval at least 30 days prior to the date of commencement of construction of the additional features.

A plan revision will be completed within 30 days of the date is determined that a revision is warranted.  If the modification is in response to a request by the MDEQ, the permitee must submit to the MDEQ certification that the requested changes have been made.

APPENDIX A

VEGETATIVE SEEDING RATES FOR EROSION CONTROL

SPECIES				RATE/ACRE		DATE

*Pensacola Bahia			40#				Jul 1 – Nov 30

Hulled Common Bermuda		15#				Jul 1 – Nov 30

Centipede				4#				Jul 1 – Nov 30

**Browntop Millet			40#				Aug 1 – Dec 30

**Cereal Rye				90#				Sept 10 – Dec 15

Carpet Grass				15#				Jul 1 – Nov 30

Creeping Red Fescue		30#				Jul 1 – Nov 30

Pensacola Bahia			30#				Jul 1 – Nov 30

Un-hulled Common Bermuda	10#				Jul 1 – Nov 30

PLUS

**Wheat				90#				Jul 1 – Nov 30

**Ryegrass				60#				Jul 1 – Nov 30

**Crimson Clover			25#				Jul 1 – Nov 30

* Not for use in Residential Subdivisions

** Temporary Cover to be followed or mixed with a perennial

*** Fertilizer (13-13-13): Use 400#/Ac. On Crimson Clover

MULCH

Hay or Wheat Straw			2 tons					After seeding

FERTILIZER

***13-13-13				600#				         Before seeding

Lime					2 tons				         Before seeding

A current soil analysis recommendation may be substituted

Desired pH range = 6.0 – 7.0 for all grasses

SEED BED PREPARATION

Slope all banks to a minimum of 3:1.  Flatter is possible.

After shaping and smoothing, pulverize soil to depth of 6 inches and harrow.  Lime and fertilizer can be incorporated during seed bed preparation.

APPENDIX B

Small Construction Forms Package

APPENDIX C

U.S.G.S. Quadrangle Map

with Project Location