HVAC  : Heritage 10 6H0024A100A4  220 Volts, 1 phase, 14 Amps with a breaker at 25 Amps. 

Other A/C units that run at 14 amps are rated at 750 cfm.  (400 cfm/ ton )  This unit is about 1.7 ton of A/C.

