August 13, 2004

TEXTRON ADDITION 

CONCRETE: LABOR AND MATERIALS REQUIREMENTS

1) Main Building Foundation: 80' x 100'

a) To grade of main plant


b) Plumbing tie in on Front Street side

2) Addition to Main plant for front end toilet room: 8” x ?? 

SUBJECT TO TEXTRON RESPONSE RE TOILET ROOMS

a) To grade of main plant


b) Plumbing tie in on Front Street side

3) Entrance Textron on Front Street side (with fiber or mesh): 25' x 108'
4) Entrance Advanced to meet Cleveland (with fiber or mesh): 32' x 52'
5) Rear Entrance Advanced to meet Cleveland (with fiber or mesh): 20' x 122'

6) Advanced Rear loading pad (with fiber or mesh): 30' x 80'

7) Parking Textron: 80' x 25'

Chuck- I will be meeting with a few concrete contractors and these are the dimensions from our measurements and discussion. Jimmy Goldsmith









CONCRETE REQUIREMENTS
