1010 Gause Blvd.

Slidell, La 70458

Provide 5 sets of specifications and drawings for renovation to the existing engineering building and convert it to I.T. Comm / Engineering Lab 

Provide as built dwgs for demo plan of all associated work to be removed

Provide new parking layout in front, side and rear of bldg. with new dumpster

Relocate existing HVAC and design new HVAC for new loads

Design new exterior facade on two of the exterior walls on the engineering lab.

Redesign existing lighting protection on engineering lab walls that are getting a new facade.

Design new drop ceilings to accommodate HVAC, Lighting and all obstructions. 

Design new electrical service for new loads

Design new lighting plan for interior and exterior of building

Design new bathrooms per ADA requirements and all associated plumbing

Design a new ceiling/roof system (r value) for the existing flat metal roof

Design new flooring for all bldgs.

7%

Approximately 7,700 sq. ft. @ 100 a sq.ft.

Our fee will be based on contract amount

