TEXTRON MARINE & LAND SYSTEMS

BUILDING 3, 2ND FLOOR RENOVATIONS

19401 Chef Menteur Hwy.

New Orleans, LA 70129
[image: image1.png]Fle Edt Vew Document Tools Advanced Window Help

2 open P Pt (@ emal ) search

e x
CrestePOF ) Review & Comment () Secwe + 2 Sion +|[] Advanceatatng |- kW B G W - H - T G -
B657% - @ || 0 D[l [ rowror -]l W ¥ ( 7

& Q)

[ Paves Y Layers [ Signatures ff Bookmarks.

[_commerts

0] esxiln

1of1 [ 5]






SECTION 01582
PROJECT IDENTIFICATION SIGN
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:  Project Identification Sign
PART 2 -  PRODUCTS
2.1 SIGN MATERIAL

A. Graphic Design, Content, Colors, Lettering Style:  See attached sketch.

B. Sign Size:  nominal 4 feet by 8 feet.

C. Quantity:  Provide 2 Project identification signs.

D. Support Structure, Framing, and Trim: All pressure treated, sizes as specified on sign detail at end of this Section.

E. Paint and Primers:  Exterior quality, gloss alkyd enamel, two coats, paints shall be approved by Architect.

1. One coat primer:  Exterior Alkyd Wood Primer:

a. Sherwin Williams: Exterior Oil Wood Primer, A-100.

2. Two topcoats:  Exterior Alkyd Enamel (Gloss): (Gloss Level 6).

a. Sherwin Williams; Seaguard 1000 Marine Enamel, Industrial & Marine.

b. Color shall be Sherwin Williams SW 6524 “Commodor” or approved equal.

F. Concrete:  Concrete for sign post footings shall be minimum 3,000 psi.  Comply with ASTM C 94; ACI 301, “Specification for Structural Concrete”; ACI 117, “Specifications for Tolerances for Concrete Construction and Materials”; and CRSI’s “Manual of Standard Practice.”

G. Fasteners: Fasten sign with stainless steel screws and stainless steel cup washers.  All other fasteners and accessories shall be hot dip galvanized.

PART 3 -  EXECUTION
3.1 INSTALLATION

A. Install Project identification signs within 30 days after date fixed by Notice to Proceed.

B. Erect Project identification signs in locations as directed by Architect.

C. Install signs plumb and level.  Anchor securely.

D. Paint all exposed surfaces of sign, supports, and framing according to manufacturer’s and MPI’s recommendations.

3.2 MAINTENANCE

A. Maintain signs and supports and keep clean.  Repair damage.  Replace deteriorated signs during course of project as directed by Architect.

3.3 REMOVAL

A. Remove signs, framing, supports and foundation at completion of Project and restore the area.

[image: image3.png]0011 0omn 461
Xt—/—/ PRESSURE TREATED CAP

) iou00m e
PREELIRE TR rost

nore | 100000
FOBTS AND BRACES St o2 e O3 B

PRESSURE TREATED, AL
FASTEANGS SHALL B2 27C | o ameoon
Coneo, ekedess
NGLUDE OFTIONAL BRACIG 18
DISTABLE 501 0% FiG W
ENRONENTS.

506100 (@i BR5CE.

500100 (257 B8ACE
1o 64 PEYWOOD.

L 1006 00mm ()

FRESEDRE D rost

T

20mm (7180

PROJECT (
IDENTIFICATION ooty
SIGNBOARD SUPPORT. SRAcE oL
DETAILS
TS SIDE VIEW

Iy




 

[image: image2]
END OF DOCUMENT
PROJECT IDENTIFICATION SIGN

01582 - 3

