
[image: image4.png]——

" DAMMON ENGINEERING, INC.

dammonengineering.com

ENGINEERS ARCHITECTS
CONSULTING DESIGN STUDIES EXPERT WITNESS
1095 Florida Ave. P.O. Box 2830 985-649-5832
Slidell, LA 70458 Slidell, LA 70459 FAX 985-641-5950
STRUCTURAL INSPECTION

Date: December 8. 2005

Type: Primary residence

RE:  Post Hurricane Katrina Structural Inspection

Structure: Wood frame, on CMU pier and beam/ shingle roof
Owner(s): Mike Neeham

1577 Maplewood Drive
Slidell La 70458

History:

Mr. Needham contacted Dammon Engineering to perform a structural inspection on the
referenced residence. He was concerned about how the roof was damaged by a large pine tree
that had fallen from the neighboring yard during Hurricane Katrina.

Findings:
During a visual inspection of the roof and attic, the following was noted:

1. The tree fell on the east end of the building, crushing a shed outside the garage, and
breaking the roof hip rafters and sheathing of the main residence, from the east wall to
the top of the hip.

2. The attic inspection revealed broken roof rafters, roof decking and roofing materials over

the garage. Several roof rafters on the front roof of the home have been pulled away

from the ridge beam.

The carport roof had its covering removed, and the sheathing was damaged by water. It

appears to have been leaking previous to the storm and damage was probably 50%.

W

Analysis
1. The tree that hit the east end of the building hit with sufficient force to damage the
structural integrity of the roof, pulling the rafters from the ridge beam in several
locations.
2. The roofing, sheathing and rafters on the east end should be removed and replaced.
The rafters that are loose from the ridge beam should be braced and nailed in place, and
the cross braces be re-nailed in place.
4. The carport roof, including sheathing, should be replaced, and covered with a torch down
or compatible roof covering.
5. The shed on the east end of the garage should be removed and, if it meets city codes,
rebuilt with proper materials.

[95)





]
[image: image2]
[image: image1][image: image3.png]Conclusion:
It is my professional opinion that this residence will be structurally sound after the above
corrections are completed

Additional Notes:

If the proposed cost to repair the residence reaches fifty percent of the cost to demotish and
rebuild, then the home should be rebuilt, particularly if it does not meet the current FEMA flood
elevation.

When work is being accomplished to rebuild the existing structure, fastenings and nail patterns
should meet the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those
damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard. In order to
dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying
time to occur. Mold remediation should occur as soon as possible. The American Wood
Council states that wood needs to dry out to less than 19% moisture content prior to enclosing
wood studs, otherwise the structural integrity could be compromised and mold growth could
occur. Contractors should not re-install wallboard until the moisture content in the stud wall is
below 19%. Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emj:%;gete) Dammon, P.E.

Louisiana License No. 8796

This inspection is fimited to the apparent visual conditions of the structural components of this building. It does not cover, nor attempts to cover, any
components, items, and/or conditions which, by their nature or focation, are concealed or are difficult or hazardous fo inspect, or which require the
moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut. No opinions are
oxpressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any
concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under
unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God. Specific
hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon
monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected. Our liability shall be
fimited to reimbursement of the total cost of inspection.




