Structural Inspection
January 5, 20065

RE:
Post-Katrina Structural Inspection

Owner(s):
Mr. Kirk Pichon
Address:
41022 South 4th Street


Slidell, Louisiana 70461
History:

The Pichon residence, along with several other homes, was located on the south side of Hwy 90, on the east side of the Rigolets bridge.  Mr. Pichon’s home collapsed and is resting only a few feet from its original position.  Other homes in the area vary from total destruction, to one that is just south of his home, built to new code requirements, that is pretty well intact.
Findings:

The house, with its frame generally intact, is sitting on the ground approximately eight feet north east of its original location, and sitting on the collapsed pilings.  The ground at this point is approximately elevation five NGVD, and the attic is approximately elevation fifteen NGVD.
The attic and attic contents were found to be dry after the hurricane.  The boat shed and other items on the property faired better with no great amount of damage.

All windows, doors, etc., on the house were blown out.

Nearby Property – 

1. Several of the other homes in the neighborhood had their main living floor at or above sixteen ft. NGVD, and as such this part of their homes that was built on columns was above the flood and, having breakaway walls between the columns, generally survived the wind and water.  These structures were usually built to the later building standards.
2. Lakeshore Estates, just south of Rigolets, suffered flooding, but their homes were not destroyed and suffered much less damage.
Analysis:

Hurricane force winds ripped the Rigolets area before dawn on Monday, August 29, 2005, prior to the flood that ensued after daylight.  The western part of the eye of the hurricane passed over the Rigolets probably between daylight and 8:00 a.m.  These winds were gusting and causing roofs and whole houses to shutter under relentless wind pressures of from 30 psf to 45 psf, during the pre-dawn and early morning hours.  This variable wind speed caused wind pressures that were capable of shaking and dismantling the house, long before flooding arrived, the flood peaking between 7:30 a.m and 8:00 a.m on Monday according to an eyewitness in Rigolets Estates, approximately ¼ mile away.  Wind direction during this period was first out of the east and northeast prior to the eye passing and then the northwest and west-southwest following the eye passing.  When this building collapsed, it fell towards the east or northeast, indicating that after being badly battered by the earlier winds and then by the rising and moving tide, it was felled by the wind and water combination following the eye passing.
Winds on Lake Pontchartrain and the Rigolets are confirmed to have reached 130 mph with gusts well over that speed.  With this, variable forces over 20,000 lbs. acted on the walls, windows, doors, etc., having the capability of shaking the building apart.
This house was exposed to flood waters and tidal surges in previous hurricanes, as were many of the buildings at the Rigolets.  Hurricane Isidor, with it similar flood characteristics, did no structural damage to this house.  Hurricane surge waters had reached the shallow marshes and Lake Borgne long before reaching this area on August 29, and surges that were seen along the Mississippi Coast did not happen here, as they had been dampened by traveling across long stretches of these shallow areas, and against the wind on the western edge of the eye.
Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview Drive and on Bayou Liberty, all attest to the fact that there was no great surge or wall of water that would have pushed over buildings, but instead a fast rising tide in all these locations, that followed the relentless wind.  These people also reported that the flood water did not reach 16 feet above sea level.
Conclusion:

It is my professional opinion that this house was wrecked and demolished by punishing winds that worked on the walls, roof, windows, and doors that were not constructed to present day standards for standing up to the high winds.  The loss was caused by the forces of the winds, and then the flood water moving in.
When the higher flood waters came, they were moving fast and moved building parts, furniture, etc., inland, where most of the identifiable objects were found along Hwy. 90 and the marsh south of the highway.

Eyewitnesses:
1.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive

Rigolets Estates
Slidell, Louisiana

2. Joe Perez

(Volunteer Fire Department)

St. Nicholas Church

Lake Catherine Hwy 90

New Orleans, Louisiana

3.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

4.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

5.
Jimmy Ray Lemoine

Irish Bayou


New Orleans, Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Attachments:
1.  Maps of affected areas west of center


2.  Hurricane Katrina/Lake Pontchartrain Synopsis


[image: image2.jpg]< MAPQUEST. = !

Wit Kifchen

CAR & j 9Nerlh Shore

KNE . g
& LA i&?h‘d‘.’ﬂf Howze Basch Fritchie Marsh
{w) R o
A@‘; 4 =alt Bayoy
LAKE
ORE~
éa%mr%i
"{ﬁ:—mu@ej
15185
Rieorets
E. ﬁ'{ P\‘E@‘g C_Hkl Fort
© 2005 MapQuest.cam, Inz, D205 NAYTER
Smi
_Samnt Tammany Corner Santa Resa Gﬁ
ht Kiln
_Bamnt Tammany Hickogy @
Maude vl River @a
Mﬂ _Gamesville
Amas Riwer %

(23}
~ '.v_> J‘
< No 0o 7""_‘WSV§ g
Bnnl:? (‘ansldc Park
Lakeshara
< G ;
TORR e, / Ansley
’ 2ol Hasksan Landing

o
sntehartrain B
CARR, vn.\\;;j/

{ﬁ

& 2005 MapQuest.com, Ing ; & 2005 Tele Atlas





This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


[image: image1]