STRUCTURAL INSPECTION

Date:
February 6, 2006

Type:
Residential

Re:
364 Olive Drive

Slidell, La. 70458

For:
Darlene Carson Langendonk

12041 Millstone Ct.

Loveland, Ohio 45140

History:

The home is approximately 40 years old.  It is wood frame construction on a concrete foundation with brick veneer.  The purchaser contacted Dammon Engineering, Inc. to perform a structural inspection due to the recent Hurricane.

Findings:

Upon inspection, it was noted that there is a small hairline crack in the footing of the foundation located in the exterior of the garage.  The crack does not go through the foundation or the brick wall.

Analysis:

This house, being the age it is, has gone through many years of settlement.  The crack in the foundation is indicative of normal expansion and contraction for this area.

Conclusion:

It is my professional opinion that the house is structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


