November 30, 2005

RE:
Post-Katrina Structural Inspection

Owner(s):
Mr. Douglas Pihl
Address:
43 N. Treasure Isle



Slidell, Louisiana 70461
History:

The Pihl residence, along with approximately 55 other homes, was located on the peninsula of land jutting into Lake Pontchartrain, known as Treasure Isle.  Only the slab and scattered bricks and some pipe columns are left to show that a very nice home one stood at this location.
All but a very few of the homes were completely demolished and taken away to complete oblivion during the storm known as Hurricane Katrina.

Findings:

1. There is an existing concrete slab that is reportedly at an approximate elevation of 6.0’ NGVD.
2. There is brick remnants laying on and around the slab, which also has four pipe columns sticking up from the slab.  Very little other materials are in the area.

Nearby Property – 

1. Two dwellings on the south end of the Isle and one at #36 North have their frames still standing, but are gutted.  These are all raised houses, two with steel framework and one with wood.  Even though both had their main floors at or above the flood level, they were both ravaged above the flood level, and require demolition.

2. Other nearby homes on the peninsula were either raised or had their main floor at approximately elevation 7’.  They were treated equally by the wind forces.

3. Out of approximately 55 homes on Treasure Isle that were existing prior to the storm, only ten or so remain, and perhaps only one of these is worth rebuilding.

4. Many other of these homes had their main living floor at or above sixteen ft. NGVD, and as such this part of their homes that were built on columns was above the flood and, having breakaway walls between the columns, could have survived a flood such as Katrina, not reaching the 16’ elevation the hurricane presented in this area, but not the damaging winds.  These buildings went as easily as the ones built with their main floors at the 7.0 ft range, as did Mr. Pihl’s house.
5. Lakeshore Estates, just northwest of Treasure Isle, suffered flooding, but their homes were not destroyed and suffered much less damage.
6. One homeowner from Treasure Isle reported that when he first arrived after the storm, the roof of his house was seen floating in Lake Pontchartrain, indicative of tornadic winds blowing these structures into the lake, before most of the debris being washed back in shore as far as four miles.
Analysis:

Hurricane force winds ripped the Rigolets area before dawn on Monday, September 29, 2005, prior to the flood that ensued after daylight.  The western part of the eye of the hurricane passed over the Rigolets and Treasure Isle probably between daylight and 8:00 a.m.  These winds were gusting and causing roofs and whole houses to shutter under relentless wind pressures of from 30 psf to 45 psf, during the pre-dawn and early morning hours.  This variable wind speed caused variable wind pressures that were capable of shaking and dismantling the house, long before flooding arrived, the flood peaking between 7:30 a.m and 8:00 a.m on Monday according to an eyewitness in Rigolets Estates, approximately ¼ mile away.  Wind direction during this period was first out of the east and northeast prior to the eye passing and then the northwest and west-northwest following the eye passing.
Winds on Lake Pontchartrain are said to have reached 130 mph with gusts well over that speed.  With this, variable forces over 20,000 lbs. acted on the walls, windows, doors, etc., having the capability of shaking the building apart.
This house was exposed to flood waters and tidal surges in previous hurricanes, as were many of the buildings on Treasure Isle.  Hurricane Isidor, with it similar flood characteristics, did no structural damage to this house.  Hurricane surge waters had reached the shallow marshes and Lake Borgne long before reaching this area, and surges that were seen along the Mississippi Coast did not happen here, as they had been dampened by traveling across long stretches of these shallow areas.

Again, the fifteen homes on the peninsula that were single story, faired the same as the two and three story buildings, and many of the taller buildings had columns and breakaway walls to guard against water surge.  There is only one answer – the wind did the damage, and the water carried off the remnants.

Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview Drive and on Bayou Liberty, all attest to the fact that there was no great surge or wall of water that would have pushed over buildings, but instead a fast rising tide in all these locations, that followed the relentless wind.  These people also reported that the flood water did not reach 16 feet above sea level.
Conclusion:

It is my professional opinion that this house was wrecked and demolished by punishing winds that worked on the walls, roof, windows, and doors that were not constructed to present day standards for standing up to the high winds.  The loss was caused by the forces of the winds, prior to the maximum flood water moving in.  The house probably went into Lake Pontchartrain, but loose parts then were pushed inland by the flooding.
When the higher flood waters came, they were moving fast and moved the remnants far inland, where most of the identifiable objects from Treasure Isle were found in the vicinity of Apple Pie Ridge, approximately three miles northeast of Treasure Isle.

Eyewitnesses:
1.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive

Rigolets Estates
Slidell, Louisiana

2. Joe Perez

(Volunteer Fire Department)

St. Nicholas Church

Lake Catherine Hwy 90

New Orleans, Louisiana

3.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

4.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

5.
Jimmy Ray Lemoine

Irish Bayou


New Orleans, Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Attachments:
1.  Maps of affected areas west of center


2.  Hurricane Katrina/Lake Pontchartrain Synopsis


[image: image2.jpg]< MAPQUEST. = !

Wit Kifchen

CAR & j 9Nerlh Shore

KNE . g
& LA i&?h‘d‘.’ﬂf Howze Basch Fritchie Marsh
{w) R o
A@‘; 4 =alt Bayoy
LAKE
ORE~
éa%mr%i
"{ﬁ:—mu@ej
15185
Rieorets
E. ﬁ'{ P\‘E@‘g C_Hkl Fort
© 2005 MapQuest.cam, Inz, D205 NAYTER
Smi
_Samnt Tammany Corner Santa Resa Gﬁ
ht Kiln
_Bamnt Tammany Hickogy @
Maude vl River @a
Mﬂ _Gamesville
Amas Riwer %

(23}
~ '.v_> J‘
< No 0o 7""_‘WSV§ g
Bnnl:? (‘ansldc Park
Lakeshara
< G ;
TORR e, / Ansley
’ 2ol Hasksan Landing

o
sntehartrain B
CARR, vn.\\;;j/

{ﬁ

& 2005 MapQuest.com, Ing ; & 2005 Tele Atlas





[image: image1]