FILE WAS APPARENTLY SAVED OVER – THIS IS WHAT I HAD IN FILE

[image: image3.png]7e

This building has been exposed to hurricanes and floods in 4 past. Hurricane Isidor. with its similar
flood characteristics, did no structural damage to the house. Hurricanc surge waters had reached the
shallow marshes and Lake Borgne long before reaching thid area, and surges that were scen along the
Mississippi Coast did not happen here, as they had been dampened by traveling across long stretches of
these shallow areas, and were being dampened and blown to New Orleans and Chalmctt&by the winds
out of the northeast. o o alsw M“ £rocae.

o SV R - o WMMMMM)M%
Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview
Drive, Carr Drive and myself on Bayou Liberty, all attest to the fact that there was no great surge or wall
of water that would have pushed over buildings, but instead a fast rising tide in all these locations, that
followed the relentless wind. These people also reported that the flood water reached approximately 14
feet above sea level, and that they saw airborne roofs and other parts of buildings, boat houses, etc., fly by
them in their respective locations.

Conclusion:

It is my professional opinion that this house was wrecked and demolished by punishing winds and/or
tornados that worked on the walls, Toof, windows, and doors before the flood started, amet the house was
not constructed to present day standards for standing up to the high winds. FuR

Additional Notes:
If the cost to repair the residence reaches fifty five percent of the cost to rebuild a new home, then the
home should be rebuilt, particularly if it does not mect the current FEMA flood clevation.

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet all of
the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by
water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard. In order to dry out
the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.
Mold remediation should occur as soon as possible. The American Wood Council states that wood needs
1o dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural
integrity could be compromised and mold growth could occur. Contractors should not re-install
wallboard until the moisture content in the stud wall is below 19%. Houses built using thicker wood

products should expect longer dry out times.
Sincerely,

Emmett G. (Pete) Dammon, P.E.
Louisiana License No. 8796

10l 7 Cnct Mohhe b —

This inspection is limited to the apparent visual conditions of thd struetural components of this building. 1t does not cover, ror attempts to cover, any
components, items, and/or conditions which, by their nature or location, are ‘concealed or are difficult or hazardaus te inspect, of which require the
moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut. No opinions are
expressed regarding conditions which could be discovered only by the disassembly of any component paris, spesial testing, or removal of any
concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under
unustal weather conditions, such as, but not limited to floads, heavy rains or snows, high winds, temperature extremes, or any act of God. Specific
hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon
monoxide, formaldehyde, building code and termite conditians are not included in this repart unless ctherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected. Our liability shall be
limited to reimbursement of the total cost of inspection.

ey
R s’

apitf oney _gon 4ot 2 P





[image: image2.png]wet,

STRUCTURAL INSPECTION
Date: December 22, 2003

Tvpe: Primary residence

RE:  Post Hurricane Katrina Structural Inspection

Structure: Wood frame and beam with CMU piers, hardy plank siding, and composition shingle
roof

Owner(s): Donna Martin
55197 Hwy 433
Slidell, La

601-798-1380
History:
Mrs. Martin contacted Damimon Engincering to perform a structural mspection on the above residence.
Mr. and Mrs. Martin are concerned that the insurance company stated that all of the damage to the home
was floodwater related. fw 2R

The home was built approximately six feet above the ground on CMU pieWus_ The

elevation of the ground is approximately 5 feet NGVD, making the living elevation approximately
+ . At its highest reported markings, the flood was at approximately 14 &2 which would

mean that the house had approximately three feet of water in its interior. L .

Findings:

During a visual inspection of the home, the following was noted:

1. The home has collapsed; the roof is partially intact on top of the rubble.

2. The fireplace collapsed, falling to the west.

3. The ceilings inside the home are dry and all contents in the attic are drv.

4. There is no mud or marsh grass inside the home. .

5. Marsh grass was piled up on the west chain wall of the home approximately six feet./t\x-ft\.
Analysis:

Hurricane force winds ripped the Northshore/Hwy 433 area starting before dawn on Monday, August 29,
2005, prior to the flood that ensued later that morning. The western edge of the e¢ye of the hurricane
passed over this area later that morning, probably about 10:30 a.m. These winds out of the northeast and
north were gusting and causing roofs and whole houses to shutter and come apart under relentless wind
pressures of from 30 pst'to 45 psf, during the pre-dawn and early morning hours. These gusting wind
speeds caused variable wind pressures that were capable of shaking and dismantling the house, long
before flooding arrived, the flood peaking shortly after noon on Monday, August 29. Wind direction

during this period was first out of the northeast prior to the eye passing and then the north and northwest )@.ﬂ Ha_‘u

following the eye passing.

Winds on Lake Pontchartrain are confirmed by the Lonisiana State Office of Climatology to have reached
130 mph with gusts well over that speed. With this, variable forces of up to 40,000 Ibs. acted on the
walls, windows, doors, etc., having the capability of shaking the building apart.




[image: image1]