Introduction 
More than 120 years of consulting engineering practice, including the inspection of over 300,000 buildings by the Standards Committee members, stand behind the NABIE standards of practice - just reason for considering them the industry-wide criteria for licensed Professional Engineers performing home inspections.  These standards have been documented in the handbook, National Academy of Building Inspection Engineers Standards of Practice for Residential and Small Building Property Condition Surveys.  These standards, in their entirety, are provided here on our website.  You may access each topic by choosing from Table of Contents below.
The Professional Engineer's Approach
Many state boards of licensure for Professional Engineers now recognize that inspection and evaluation of the structural, electrical, and mechanical systems of residences and small buildings are integral parts of the practice of engineering.
In view of this and taking into consideration the growth of non-engineers in the building and home inspections industry, it is evident that an ethical professional organization was needed to establish practice criteria and verify qualifications of those offering such services to the public.
As a result, the National Academy of Building Inspection Engineers (NABIE) was established in 1989.  One of NABIE's principal goals was to develop professional standards in building and home inspection- a specialized engineering practice.  NABIE is dedicated to serving the needs of the general public, private and corporate real estate purchasers, investors, brokers, attorneys, and other clients.

Qualifications for Membership in NABIE
In addition to the engineering degree (from an accredited school of engineering) and evidence of professional engineering registration, NABIE members must also have actual hands-on experience in engineering involving inspection, investigation, and consultation relating to the structural components and mechanical systems of commercial and residential buildings. Membership is in the following categories: Intern, Professional, Executive, and Diplomate. In each category the requirements include standards relating to experience in engineering practice plus experience in building inspection engineering. 

Membership in NABIE also requires a minimum number of buildings inspected or evaluated. Increasingly more inspection experience is required for full membership and diplomates. Candidates for Professional Executive and Diplomate status are peer-reviewed for their abilities to perform and report on a number of previously completed inspections. An Admissions Committee reviews these documents as well as evaluating references from other engineers who know about the candidate's work. 

Three other documents are reviewed in the candidate's portfolio: evidence of the degree in engineering; evidence of the license as a professional engineer (has passed a professional engineering examination as administered by all 50 states) and is a member of the National Society of Professional Engineers.* 

*Registered Architects who are members of the American Institute of Architects (AlA), or other national architectural society satisfactory to the Admission Committee may petition the Admissions Committee for admission by providing evidence of experience and qualifications comparable to that required above. Admission requires recommendations by the Admissions Committee and approval by the board. 

Standards of Practice

More than 120 years of consulting engineering practice, including the inspection of over 300,000 buildings by the Standards Committee members, stand behind the NABIE standards of practice - just reason for considering them the industry-wide criteria for licensed Professional Engineers performing home inspections. ( The term Registered Architect can be interchanged with Licensed Professional Engineer.)
The Professional Engineer using NABIE Standards prepares a written report on the overall physical condition of the premises, describes pertinent components of building systems, and identifies deficiencies or conditions that would present a threat to the public or occupants or are in immediate need of repair or replacement.
An inspection using these standards shall not be construed as a code compliance inspection or exhaustive technical analysis.
The following two areas of evaluation requiring engineering expertise are recommended for any inspection performed by an Associate, Member, or Diplomate of the National Academy of Building Inspection Engineers
1.  Overall structural soundness based on visual evidence
2.  Heating, air-conditioning, plumbing, and electrical systems evaluated in terms of an overview in the opinion of the engineer of the capacity and adequacy for use at the time of inspection.
Cost estimates are not normally provided in a standard inspection or report.
If the licensed professional engineer cannot evaluate an item in the standard, the reason will be stated in the report. The engineer will be allowed to used his or her professional judgment as to whether items can be adequately examined.
a.  Detailed numerical analysis as required for a certificate of occupancy or building code compliance is not required. Recommendation for such analysis, if deemed necessary, should be made in the building inspection engineer's report. 
b.  Heating, air conditioning, plumbing and electrical evaluations will not include detailed numerical analysis or identification of electrical circuits, heating or cooling zones, etc., nor evaluation for code requirements. Recommendation for such analysis, if deemed necessary, should be made in the building inspection report.
Recognizing that licensed Professional Engineers are trained and licensed to provide opinions based on their judgment and experience, and that the engineer is performing within the engineer's area of expertise, the broad areas of evaluation stated herein should be included in any inspection provided by a member of the National Academy of Building Inspection Engineers (NABIE).
It is the intent of these standards of practice to encourage a practical approach in the performance of an inspection.
Specific Systems Inspections

	Reports are the result of visual inspection in accessible and observable areas at the time of the visual inspection.  Select from the following:
1.  SITE CHARACTERISTICS
2.  STRUCTURE
3.  BASEMENT/CRAWL SPACE WATER ENTRY
4.  VENTILATION
5.  HEATING
6.  CENTRAL AIR CONDITIONING
7.  ENERGY EFFICIENCY
8.  PLUMBING SYSTEMS
9.  ELECTRICAL
10.  INTERIOR 
11.  EXTERIOR
12.  ROOFING
13.  CHIMNEYS 
14.  SAFETY 
15.  ENVIRONMENTAL
16.  RELATED STRUCTURES / COMPONENTS/FACILITIES


	

	1.0 SITE CHARACTERISTICS
1.1
The engineer will observe, report and evaluate on-site characteristics as follows:
1.1.1
Surface drainage characteristics as it relates to the structure
1.1.2
Condition of walkways and exterior stairways
1.1.3
Condition of driveways and other paved or masonry areas
1.2
The engineer is not required to examine/report on:
1.2.1
Retaining walls, sea walls, waterfront bulkheads, docks and piers. These and other items not included as part of the building inspection can be inspected by special agreement
1.2.2
Landscaping, trees and shrubs
 

2.0 STRUCTURE
2.1
The engineer will observe, report and evaluate structure and structural adequacy as follows:
2.1.1
Visible foundation components
2.1.2
Visible floor framing
2.1.3
Visible roof framing
2.1.4
Structural performance based on visual, detectable movement
2.1.5
Structural soundness and adequacy based on visual inspection
2.1.6
Visible evidence of significant rot, wood-boring insect damage, or other forms of structural deterioration which would have an impact on the overall structural soundness and structural integrity of the building
2.1.7
Visible evidence of structural distress or structural damage such as leaning walls, sagging beams or joist, unbraced trusses, damaged framing, fire damage, etc.
2.1.8
Visible evidence of failure or deterioration of the foundation system such as severe cracking, inward movement, frost heave, etc.
2.2
The engineer is not required to:
2.2.1
Enter crawl spaces or attic spaces where access opening is less than 18"x24"
2.2.2
Enter spaces where headroom is less than 30"
2.2.3
Enter spaces where entry is obstructed
2.2.4
Enter spaces where adverse or dangerous situations are suspected
2.2.5 
Enter spaces where entry may cause property damage
 

3.0 BASEMENT/CRAWL SPACE WATER ENTRY
3.1
Engineer will observe, report and evaluate basement/crawl space water entry as follows:
3.1.1
Evidence of water entry into the crawl space or basement
3.1.2
Water control systems such as sumps, sump pumps, drains
3.1.3
Proper discharge of mechanical water control systems
3.1.4
Obstructions to proper operation
3.1.5
Roof rain water runoff system including gutters, downspouts, extensions or splash blocks, as it relates to possible crawl space/basement water entry
3.1.6
Relevance of exterior surface drainage to basement! Crawl space water ingress
3.1.7
All conditions which would restrict the engineer's ability to examine the presence of water entry
3.2
The engineer will test:
3.2.1
Water control systems, where possible, to confirm operation
3.3
The engineer is not required to:
3.3.1
Operate inactive mechanical components
3.3.2
Excavate subsurface drainage systems
4.0 VENTILATION
4.1
The engineer will observe, report and evaluate ventilation as follows:
4.1.1
Basement/crawl space ventilation
4.1.2
Attic ventilation
4.1.3
Mechanical ventilation for kitchens and bathrooms
4.1.4
Laundry room ventilation
4.1.5
Evidence of condensation and other consequences of inadequate ventilation when visible using normal inspection techniques
4.2
The engineer is not required to:
4.2.1
Evaluate ventilation relative to code compliance (evaluation is for practical adequacy)
4.2.2
Evaluate concealed ventilation systems
 

5.0 HEATING
5.1
The engineer will observe, report and evaluate all permanently installed primary and secondary heating systems as follows:
5.1.1
Type of heat (steam, hot water, hot air, etc.)
5.1.2
Type of fuel or energy used
5.1.3
Type of heating unit (furnace, steel boiler, cast iron boiler), the manufacturer and the rated output capacity (BTUH) based on nameplate data
5.1.4
Physical condition of the heating equipment
5.1.5
Zoning/distribution
5.1.6
Condition of visible components including piping, ducts, thermostats, exposed flues
5.2
The engineer will operate using operator controls:
5.2.1
All heating equipment
5.2.2
All accessories such as humidifier and/or electrostatic air cleaner
5.3
The engineer is not required to:
5.3.1
Make heat loss calculations to determine adequacy of capacity
5.3.2
Operate equipment when weather conditions or other circumstances may cause equipment damage
5.3.3
Ignite solid fuel fires
5.3.4
Ignite gas pilot lights
5.3.5
Perform smoke or carbon monoxide tests on equipment
5.3.6
Override automatic safety controls to activate the equipment
 

6.0 CENTRAL AIR CONDITIONING
6.1 
The engineer will observe, report and evaluate all permanently installed primary and secondary central air conditioning equipment as follows:
6.1.1
Cooling and air handling equipment type
6.1.2
Physical condition of the cooling equipment
6.1.3
Zoning/distribution
6.2
The engineer will test using operator controls:
6.2.1 
All permanently installed equipment
6.3
The engineer is not required to:
6.3.1
Test when weather conditions or other circumstances may cause equipment damage
6.3.2
Test prior to unit being serviced after seasonal shutdown or when off-season equipment covers are in place
6.3.3
Take pressure or temperature readings using gauges
6.3.4
Make calculations to determine capacity
7.0 ENERGY EFFICIENCY
7.1
The engineer will observe, report and evaluate energy efficiency as follows:
7.1.1
The presence or absence of insulation in the crawl space, basement and attic and appropriate vapor barrier
7.1.2
Presence or absence of storm windows
7.1.3
Recommendations for reducing energy losses when appropriate
7.2
The engineer is not required to:
7.2.1
Perform energy calculations
7.2.2
Perform life cycle cost analysis
 

8.0 PLUMBING SYSTEMS
8.1
The engineer will observe, report and evaluate plumbing systems as follows:
8.1.1
Interior water supply distribution system including:
Water supply and piping
Fixtures and faucets
Water pressure and water flow
Evidence of leaks
Presence of visible cross connections and backflow prevention devices Pipe insulation
8.1.2
Interior drain, waste and vent system including:
Traps, drains, waste, and vent piping, and piping supports
Evidence of leaks
Water pipe drainage
Evidence of problems with wastewater systems
8.1.3
Domestic hot water systems including:
Heating equipment and energy source
Automatic safety controls
Chimney, flue and vents
8.1.4
Fuel storage and distribution systems including:
Interior fuel storage
Leaks in above ground oil tanks and visible piping
Condition of visible gas piping, gas metering and LPG gas systems
8.2
The engineer will test:
8.2.1
All interior fixtures for adequacy of pressure where not connected to a household appliance
8.2.2
All interior fixtures for adequacy of drainage
8.2.3 
All interior fixtures for presence or absence of leaks
8.3
 The engineer is not required to:
8.3.1
Test water pressure and water flow with the use of instruments or measurements
8.3.2
Inspect or test underground septic tank
 

9.0 ELECTRICAL
9.1
The engineer will observe, report and evaluate electrical equipment as follows:
9.1.1
Service entrance conductors
9.1.2
Service equipment, grounding, main over current device, main and distribution panels
9.1.3
Amperage and voltage ratings
9.1.4
Branch circuit over current devices
9.1.5
Ground Fault Circuit Interrupter (GFCI) devices
9.1.6
Need for immediate or imminent repairs and/or upgrading
9.1.7
Any observed aluminum or copper-clad aluminum branch circuit wiring
9.2
The engineer will test:
9.2.1
Operation of a representative number of installed lighting fixtures, switches and receptacles located inside the house
9.2.2
Operation of Ground Fault Circuit Interrupter (GFCI) devices
9.3
The engineer is not required to:
9.3.1
Insert any tool, probe or testing device inside the panels
9.3.2
Test or operate any over current device
9.3.3
Dismantle any electrical device or control other than to remove the cover of the main control panel
9.3.4
Evaluate telephone, security, cable TV intercoms or other low voltage ancillary wiring which are not part of the primary electrical distribution system
10.0   INTERIOR 
10.1
The engineer will observe, report and evaluate interior components as follows:
10.1.1
Walls, ceilings, and floors including tile work and trim
10.1.2
Steps, stairways, balconies, and railings
10.1.3
Cabinets and counters
10.1.4
Representative number of windows and doors including hardware
10.1.5
Separation walls, ceilings, and doors between a dwelling unit and an attached garage or adjoining dwelling unit
10.2
 The engineer is not required to:
10.2.1
Comment on aesthetics or design 
10.2.2
Comment on wear and tear
 

11.0 EXTERIOR
11.1
The engineer will observe, report and evaluate exterior components as follows:
11.1.1
 Exterior wall coverings, flashings and trim
11.1.2
 Primary windows and doors
11.1.3
 Garage door operators including automatic reversing operation
11.1.4
 Decks, balconies, stoops, steps, areaways, and porches including railings
11.1.5
 Eaves, soffits and fascias
11.2
The engineer is not required to:
11.2.1
 Report on outbuildings unless included by separate agreement prior to the inspection
 

12.0 ROOFING
12.1
The engineer will observe, report and evaluate roofing as follows:
12.1.1
 Roof surfacing
12.1.2
 Roof drainage systems
12.1.3
 Flashings
12.1.4
 Skylights, chimneys and roof penetrations
12.1.5
 Evidence of leaks, condensation
12.2
The engineer is not required to:
12.2.1
 Walk on the roofing but should describe the methods used to observe and evaluate the roofing components such as use of binoculars, ground observation, etc.
 

13.0   CHIMNEYS 
13.1
The engineer will observe, report and evaluate chimneys as follows:
13.1.1
 Chimney flue liners where visible from grade level
13.1.2
 Flue connections
13.1.3
 Structural integrity of chimney
13.1.4
 Configuration/location of chimneys
13.1.5
 Fireplace dampers
13.1.6
 Fireplaces
13.2
The engineer is not required to:
13.2.1
 Test combustion devices, such as fireplaces (lighting fireplace)
13.2.2
 Examine chimney from rooftop
 

14.0 SAFETY 
14.1
The engineer will observe, report and evaluate:
14.1.1
Condition and adequacy of handrails and guardrails
14.1.2
Condition of stairways
14.1.3 
Glass vulnerable to human impact
14.1.4
Smoke alarms
14.1.5
Fire separation at chimneys and garages
14.1.6
Solid fuel appliance installation (wood stove)
14.2 
The engineer is not required to:
14.2.1
Check code compliance
14.2.2
Check ADA compliance
 

15.0 ENVIRONMENTAL
15.1
The engineer will observe, report and evaluate:
15.1.1
Presence of suspected asbestos containing materials (ACM)
15.1.2
Evidence of underground storage tanks (UST)
15.1.3
Evidence of urea formaldehyde foam insulation (UFFI)
15.2
The engineer is not required to:
15.2.1
Conduct comprehensive environmental scan
15.2.2
Report of suspected hazardous materials not noted above
15.2.3
Conduct tests for hazardous materials
 

16.0 RELATED STRUCTURES / COMPONENTS/FACILITIES
16.1
The engineer is not required to inspect any of the following:
16.1.1
Solar heating systems
16.1.2
Geothermal systems
16.1.3
Outdoor barbecues
16.1.4
Saunas
16.1.5
Swimming pools
16.1.6
Tennis courts
16.1.7
Piers and docks
16.1.8
Boathouses
16.1.9
Waterfront bulkheading
16.1.10
Cabanas
16.1.11
Cottages/guesthouses
16.1.12
Private water supply
16.1.13
Private waste water analysis
16.1.14
Satellite dish systems
16.1.15
Any items not specifically included in this standard
[image: image1.png]



 
NOTE: Any special or additional inspections may be available by special agreement prior to the inspection.



Limitations and Exclusions

Engineers are not required to: 

a. Prepare calculations within the scope of a building inspection 

b. Remove materials, furnishings, personal property, or any other obstructions (snow, ice, debris, suspended ceiling tiles, secured shut access panels, etc.) 

c. Operate equipment not typically operated by normal layman user controls 

d. Conduct any exploratory probing or testing 

e. Report on architectural and cosmetic incidentals (carpeting, wallpaper, draperies, blinds, built-in furniture, trim) 

f. Report on security systems, intercoms, sound systems, fire alarm systems, cable TV, telephone or other low voltage ancillary wiring 

g. Discover or evaluate underground systems, tanks, lawn sprinklers, subsurface soil conditions, streams, groundwater levels, well casing, wells and pumps, septic and on-site waste disposal systems 

h. Provide research for code violations, report on code compliance, ordinances, restrictive covenants, Certificate of Occupancy or Completion, verify building department approvals, title surveys, zoning, environmental compliance, and land use, or review drawings 

i. Provide an appraisal of the property 

j. Comment on whether the property should be purchased leased, rented, etc. 

k. Perform any procedure or enter any area which has the potential to damage the property or its components or be dangerous to the engineer or other persons 

l. Attempt to repair or operate any system or component which does not respond to normal layman user controls or which is shut down or otherwise inoperative 

m. Report on items not permanently installed (household appliance, personal property)

n. Report on the presence or absence of pests such as wood damaging organisms, rodents, birds, droppings or insects, etc., except as it my relate to the structural soundness and adequacy of the building 

o. Perform an environmental assessment or laboratory testing to determine the presence or absence of any hazardous substance including, but not limited to:  toxins, carcinogens, noise, contaminates of soil, water and air 

p. Perform a wind, earthquake, seismic or flood insurance study 

q. Test items requiring a special permit or training (radon, lead, asbestos, etc.) 

r. Test items requiring a special permit or training (radon, lead, asbestos, etc.) 

s. Evaluate or determine the effectiveness of any system installed to control or remove suspected or known hazardous materials 

t. Perform acoustical or vibration testing or evaluation of noise or vibration characteristics of nay system or component 

u. Determine the material of which components or systems are made 

v. Perform electromagnetic field testing 

w. Provide policies of insurance for building failure 

x. Provide opinions regarding handicap characteristics or health characteristics of the premises in so far as allergies, disease or disabilities are concerned 

y. Provide opinions regarding historic aspects of the premises report on any device or system which has not been specifically indicated herein, this includes but is not limited to solar heating systems, geothermal systems, outdoor barbecues, saunas, steam baths, satellite dishes, intercom systems, alarm systems, lawn sprinkler systems, etc. 

Definitions

Access Panel- A panel used for the purpose of gaining access to a piece of equipment for maintenance, repair, or cleaning of the equipment; a panel used to gain access to an area such as a crawl space or attic cavity
Activate- To turn on or operate a piece of equipment by normal means such as turning on the furnace with the thermostat controls
Automatic safety controls- a device used to protect people and equipment from malfunction caused by excessive pressure, temperature, or other hazardous operating conditions
Central air-conditioning- A system used to cool and/or dehumidify the space of a building in one or more room(s) by means of duct or chilled water pipe distribution; and is built into the structure of the building with direct wiring from electrical control panel
Central heating- a system used to warm the space of a building in more than one room by means of duct or pipe distribution; it is built into the structure of the building; individual room electric heaters throughout the premises could also heat a building
Component- a unit part of a system such as the gas valve in the furnace or a rafter of a roofing system
Cosmetic- A condition that affects the appearance of an item rather than the structural integrity or intended function thereof
Crawl space- An area under a home enclosed by the foundation walls and generally 3 to 4 feet high which can only be examined by crawling or being bent over; this space usually w9ill have plumbing supply and drain lines, electrical wiring, and mechanical systems; a crawl space with a clearance of less than 30" is considered
Cross connection- any physical connection or arrangement between potable water and any other water of unknown or questionable source of possible contamination
Dangerous or adverse condition- Any condition or situation which has the possibility of causing injury or health threats to the inspection engineer; these conditions may require special protective clothing or safety equipment and in certain cases, such as crawl spaces areas, cannot be entered until the condition is corrected
Detached buildings- any structure apart from the main structure and under a separate roof and foundation system
Direct wired components- a device, which is connected to the electrical system and cannot be readily unplugged or disconnected
Engineering- The profession of putting scientific knowledge to practical used by utilizing mathematics, chemistry, physics, and the engineering sciences for analytic or design work
Flue pipe- the pipe connecting the firing chamber exhaust of a hydrocarbon fueled device such as a heating unit or water heater to a chimney
Heat source- any device used for the purpose of adding heat to an area
Household appliance- A device, either freestanding or built in, used to provide an ongoing function by providing a specific household duty such as a dishwasher, oven, range, garbage disposal, washer, dryer, etc.
Installed- An item that is physically attached to the home with nails, screws, etc., and could not be removed by unplugging or disconnecting by hand
Normal user operating controls- Controls such as a thermostat of the heating and cooling system used to operate equipment by a layman homeowner or tenant
Observe- To make a visual study of a component without removing covers, finished surfaces, blocked access panels, debris, belongings
Operate- To activate a device by the normal user operating controls
On-site water supply quality- Water quality is based on the bacterial, chemical, mineral, metal, and solids content of the water
On-site water supply quantity- Water quantity is the accumulated water volume resulting from the rate of water flow
Proper fixture drainage- the rate of a drainage flow sufficient to prevent overflowing or backing up during normal operating and use
Proper water pressure- Pressure needed to produce a rate of water flow of a plumbing fixture that provides sufficient flow when another fixture is operated at the same time
Readily accessible- Having the ability to inspect an item or equipment with out having to move or relocate furniture or stored items or damage paint finishes; ability to enter through access panels large enough for an average size person; panels are not considered accessible if they cannot be reached with the aid of a four foot ladder or require tools to open; minimal access opening is 18" x 24".
Representative number- A defined number of items to be inspected when there is a number of like items in a facility, building, or home such as electrical switches, outlets and windows; this number will be one per room or one per side of the exterior
Roof drainage system- the system used to carry rainwater from a roof away from the foundation of the structure; this system consists of guttering, downspouts, splash blocks, and proper grade for drainage
Safety glazing- Tempered glass or plastics
Shut down- When an item cannot be operated by normal controls it is considered to be shut down; the engineer is not required to light pilot lights, turn on gas supply, switch breakers, replace fuses or light bulbs, plug in equipment, open closed water valves, etc.; all items intended to be a part of the inspection shall be in operation prior to the inspection.
Structure- any construction designed and used to provided support against natural forces in additional to live and dead loads
Structural component- a member used for the purpose of supporting certain design loads
System- A specific part of a building composed of several components used for a specific purpose such as the electrical system, HVAC, system, plumbing system, etc.
Technically exhaustive- A building inspection as covered by these standards of practice is comprised of a visual inspection and brief operation of equipment; an inspection is technically exhaustive when it involves the extensive use of measurements, instruments, testing calculation, exploratory destructive probing when justified, and other means to develop scientific or engineering findings, conclusions and recommendation

From the National Society of Professional Engineers (NSPE) Code of Ethics for Engineers

Engineering is an important and learned profession. As members of this profession, engineers are expected to exhibit the highest standards of honesty and integrity. Engineering has a direct and vital impact on the of life for all people. Accordingly, the services provided by engineers require honesty, impartiality, fairness and equity, and must be dedicated to the protection of the public health, safety, and welfare. Engineers must perform under a standard of professional behavior that requires adherence to the highest principles of ethical conduct....
Engineers, in the fulfillment of their professional duties, shall: 

1. Hold paramount the safety, health and welfare of the public. 

2. Perform services only in areas of their competence. 

3. Issue public statements only in an objective and truthful manner. 

4. Act for each employer or client as faithful agents or trustees. 

5. Avoid deceptive acts. 

6. Conduct themselves honorably, responsibly, ethically, and lawfully so as to enhance the honor, reputation, and usefulness of the profession....
