March 13, 2006

TO: 

Ms. Valena Jones

FROM:
Emmett Dammon
RE:
Hurricane Katrina Occurrence: 8/29/2005. Residential Damages

Location:
508 North Blanks Ave, Picayune, MS  39466

Dear Ms. Jones,

Pursuant to your request, a study of the Hurricane Katrina damages sustained by your residence at the above referenced address was performed recently.

The following comments of the afflicted damages, along with the enclosed numbered photographs, describe the now present physically failed structural conditions of your home and is the basis upon which, for life safety and health preservation due to the now existing environmental contamination, require the structure to be demolished in its entirety.
The photographs are each numbered on their backs and will aid in the description of the following comments:
A) Photographs 1-8, front elevation of structure

1) The “Blue Tarp” for temporary water protection roofing due to the roof damages
2) Damaged roof, metal and wood fascias
3) Settlement of the left end of the structure
B) Photographs 9-17, rear elevation

1) Metal siding and roof damages
2)  Eave and roof damages from fallen trees
C) Photographs 18-21, right side elevation

1) Eave and roof damages 

D) Photographs 22-18

1) Interior ceiling water damages and stains
2) Ceiling structural failures 

3) Wall failures

Page 2

Ms. Valena Jones

March 13, 2006

E) Photographs 29-41
1) Additional photos showing in somewhat more detail items of damages 
      previously mentioned
F) Photographs 42, 43
1)  The outdoor metal storage facility damage
G) Photographs 44-50 

1) Additional photos showing in detail some items of damages previously       mentioned

H) Photographs 51-56


1)  Areas of interior extensive mold infestation

2)  Ceiling damages and stains

3)  Floor damages and mold
H) Photographs 57-66 surrounding tree and vegetation debris
It should also be noted that differential settlements, misalignments of walls and ceilings, and deflection of the floor system (now under normal residential loadings) were a result of the hurricane.

The photographs are considered ample to indicate the extent of the structural damages relating to settlement, wall, roof, ceiling and floor failures and mold infestation.

It is therefore as previously stated herein, for the sake of life safety and health, it is highly recommended this structure be totally demolished and the debris/spoils be deposited in an area considered environmentally secure to the public. 
Thank you for the opportunity of serving you in the presentation of this report.








Yours very truly,








Emmett G. (Pete) Dammon, P.E.
