DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS					ENGINEERS

CONSULTING		DESIGN		STUDIES		EXPERT WITNESS

554 Old Spanish Trail										     985-649-5832

Slidell, LA 70458									            FAX 985-641-5950

# February 03, 2012

Paul Carroll

Parish Engineer

St. Tammany Parish

RE: Pool Installation

Chip & Wendy Englande

1038 Mariners Cove Blvd.

Slidell, La. 70458

Dear Mr. Carroll,

Per our review of the pool drawings provided to Dammon Engineering by the owners, as the pool is designed it will not encroach on any setbacks or bulkheads per the layout. The pool is located 22’ from the bulkhead and 12’ from the dead men and therefore should not pose any problems to the bulkhead.

Sincerely,

Emmett G. Dammon