985-960-2884
Foundation Inspection

July 31, 2008

Type:   Existing concrete foundation

Structure:  No structure on the foundation at time of inspection

To:

Mr. Fred Ferrara

Reference: 
136 Bywater Drive.

Slidell, LA

History:

Mrs. Ferrara contacted Dammon Engineering to request a foundation inspection of the above listed property.  The primary concern was to determine the structural integrity of the concrete foundation to build a new residence on.  

Findings: 

During a visual inspection the following information was determined:

1. There is currently no house on the foundation.

2. Upon a visual inspection the foundation was noted to have several cracks that run from front to rear and side to side. The foundation was also noted to have high points in it.  It slopes from front to rear and left to right.

3. Two borings were taken where a cinder block used to be and one in the middle of the foundation. 

4. The borings taken noted that where the cinder block used to be there was only 5” of concrete. The boring taken in the middle of the foundation was only 4” thick. 

5. The right side of the foundation was also inspected for depth of footings. It was noted to be only 8” thick.

Conclusion:

This foundation exhibits structural defects and does not meet current code requirements. The foundation appears not to be structurally sound, with the differential settlement as described above.

Sincerely,

Emmett G (Pete) Dammon, P. E.

Louisiana License No. 8796

