DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 01, 2011

STRUCTURAL CERTIFICATION

For:
Ms. Demetris McGowan

Location:
220 Shorecrest Circle



Carriere, MS. 39426

Construction:
Single story, wood frame on concrete foundation, brick & vinyl veneer, composition shingle roof

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect or engineering.

History:

Ms. McGowan contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of purchasing the home.  Ms. McGowan stated that a home inspection was completed and termites were noted. 

Findings:

Termite damage was noted on the master bathroom door jamb, wall and around the garage door header and north side exterior door.
Opinion:

There is a reasonable presumption of “structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

Ms. License 9652

