DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

October 25, 2011

For:
Mr. Michael King


42483 Ann Street


Slidell, La. 70461

Construction:

Raised single story, pile supported, wood frame residence with vinyl siding, metal roof, wood and ceramic tile flooring.  The home is approximately one year old.

Scope:

This inspection is limited to a visual inspection of the shell and interior walls and ceilings of the home, including the interior and exterior foundation of the residence.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. King contacted Dammon Engineering to request a structural inspection of the above listed residence, including photographs and a written report about the condition of the home.  He is concerned that big truck and other equipment and traffic working on the property next to his property, has damaged his home. 

Findings:

The home is generally in good to excellent condition, except for the items listed below:

The inside of the home has several cracks in the sheetrock, as follows:

1. The master bedroom sheetrock wall was noted to have a crack under the through wall A/C unit.

2. The master bedroom sheetrock ceiling was noted to have a crack above the bed.

3. The bedroom closet ceiling was noted to have a crack in the sheetrock.

4. The bathroom closet was noted to have cracks in the wall.

5. The sheetrock around the kitchen window has cracked.

6. The kitchen rear door was noted to have a crack in the sheetrock above the door.

7. The laundry room wall near the water heater was noted to have a crack in the sheetrock wall.

8. Where the rear porch steps meet the porch, it was noted that it has separated from the porch and there is now an open crevice between the steps and the porch.

9. Generally, the cracks in the sheetrock appear to be at the seams.

The homeowner reported that no cracks or other problems existed or were found after the construction completion inspection.
See the attached photographs for reference.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachments: 
29 photographs

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


