                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

April 24, 2007

STRUCTURAL CERTIFICATION

For:
Jim Griswold

Location:
4275 Poplar Dr.



Slidell, La 70461

Building Description:  wood frame, shingle roof and Brick veneer siding.
To Whom It May Concern:

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mr. Griswold contacted Dammon Engineering to perform a structural inspection on the referenced residential property.  St. Tammany Parish has condemned the building. 

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.

1. The roof framing is 2x8 16 in. on center and appears to be structurally sound.

2. The first floor living area is stable with no sagging of the floor.  There does not appear to be any weak sections of the floor.  The interior walls and ceilings are in very good condition and have no cracks or taped seams visible.

3. The brick exterior is in good condition.  There are no cracks or settling visible.  The roofline is straight with no indication of sagging.

4. It appears that the yard has been filled and the first layer of bricks is below grade.

Analysis:

This building appears to be structurally sound.  

Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796

