STRUCTURAL INSPECTION

Date:
June 30th, 2006

Type:
Residential

For:
Bill Haworth
RE:
26401 Morning Dove

Bush, La 

History:

The home is approximately 11 years old.  It is wood frame construction on a concrete foundation with brick and vinyl siding.  The owner  contacted us to perform a structural inspection prior to him purchasing the home.  Mr. Haworth was concerned about the floor in the dog kennel and how it slopes slightly near the side door; he was also concerned about small surface cracks in the concrete floor of the garage.

Findings:

Upon inspection of the exterior of the home, small hairline surface cracks were noted in the garage and the concrete surface has a slight slope towards the water tank, also located in the garage.  There are no signs of settlement of the foundation.  The brick and vinyl siding is in good condition with no fractures in the brick mortar or tears in the vinyl.
On the Northeast side of the roof a metal flashing was installed incorrectly.  The flashing was nailed over the top of the newly-shingled roof and the nail tops cemented.  To correct this the metal flashing and the damaged roof shingles should be removed.  The metal flashing should be reinstalled under the roof shingles and drip edge.  No nails or roof cement covered nails should be on top of the shingles.
The apron around the swimming pool is in good condition

Upon inspection of the attic it was noted that the roof rafters are 2x6 placed on 16inch centers.  One roof rafter is splintered, but not cracked.  There is a bowed 2x4 vertically installed near the A/C air handler.  To correct this a 2x4 with a strong back can be installed.  This will alleviate the bowing.

Upon inspection of the interior, it was noted that there were a couple of small hairline cracks visible in the sheetrock ceiling of the den, leading to the kitchen, the crown molding in the master bedroom is separated at the painted joint.  To correct this, caulking and repainting is necessary.

Conclusion:

It is my professional opinion that this house is in good condition.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


